## 2002
Table B.2. | Major Disturbances and Unusual Occurrences, 2002
Date | NERC Region | Time | Area | Type of Disturbance | Loss (megawatts) | Number of Customers Affected | Restoration Time
January
2002-01-30 | SPP | 6:00 | Oklahoma | Ice Storm | 500 | 1881134 | 2002-02-07 12:00
2002-01-29 | SPP | Evening | Metropolitan Kansas City Area | Ice Storm | 500-600 | 270000 | NA
2002-01-30 | SPP | 16:00 | Missouri | Ice Storm | 210 | 95000 | 2002-02-10 21:00
February
2002-02-27 | WSCC | 10:48 | California | Interruption of Firm Load | 300 | 255000 | 2002-02-27 11:35
March
2002-03-09 | ECAR | 0:00 | Lower Peninsula of Michigan | Severe Weather | 190 | 190000 | 2002-03-11 12:00
April
2002-04-08 | WSCC | 15:00 | Arizona | Vandalism/ | 0 | 0 | 2002-04-09
Insulators
July
2002-07-09 | WSCC | 12:27 | California | Interruption of Firm Power | 240 | 1 PG&E | 2002-07-09 19:54
2002-07-19 | WSCC | 11:51 | California | Interruption of Firm Power (Unit Tripped) | 240 | 1 PG&E | 2002-07-19 16:30
2002-07-20 | NPCC | 12:40 | New York | Fire | 278 | 63500 | 2002-07-20 20:12
August
2002-08-02 | MAIN | 12:43 | Illinois | Interruption of Firm Power | 232 | 53565 | 2002-08-02 18:36
2002-08-09 | SERC | 8:23 | Florida | Interruption of Firm Power | 51 | 25000 | 2002-08-09 12:13
2002-08-25 | WSCC | 3:41 | California | Interruption of Firm Power | 120 | 1 PG&E | 2002-08-25 09:17
2002-08-28 | SERC | 14:09 | Florida | Severe Weather | 67.6 | 25000 | 2002-08-28 15:38
October
2002-10-03 | SPP | 3:33 | Coastal Areas of Southern Louisiana | Hurricane Lily | NA | 242910 | 2002-10-12
November
2002-11-06 | WSCC | 22:00 | Northern and Central California | Winter Storm | 270 | 939000 | Noon November 10
2002-11-17 | NPPC | 15:48 | Northport, NY | Cable Tripped | 0 | 0 | Unknown
Norwalk, CT
2002-11-17 | NPCC | 6:00 | Northwest and North Central Connecticut | Ice Storm | NA | 224912 | 2002-11-21 08:00
December
2002-12-03 | SPP | 18:30 | Arkansas | Ice Storm | NA | 43000 | 2002-12-09 22:30
2002-12-11 | SERC | 13:09 | Northern Virginia to Fredericksburg | Winter Storm | 63 | 130000 | 2002-12-13 22:00
Staunton to Harrisonburg
2002-12-14 | WSCC | 11:00 | Northern and Central California | Winter Storm | 180 | 1.5 million | 2002-12-19 16:00
2002-12-19 | WSCC | 6:00 | Northern and Central California | Winter Storm | 56 | 385000 | 2002-12-21 17:00
2002-12-25 | MAAC | 17:00 | Eastern Pennsylvania | Winter Storm | 250 | 106000 | 2002-12-26 05:00
2002-12-25 | MAAC | 10:00 | Reading, York, Hanover, Hamburg Pennsylvania | Winter Storm | NA | 95630 | 2002-12-27 08:30
Note: North American Electric Reliability Council region acronyms are defined in the glossary.
Source: Form EIA-417, "Electric Emergency Incident and Disturbance Report"