## 2006
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2006
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
January
2006-01-14 | RFC | 3:45 p.m. | Chester, Montgomery, Delaware, Philadelphia and Bucks Counties, Pennsylvania | High Winds | -- | 142315 | 5:30 p.m. January 16
2006-01-18 | NPCC | 3:16 p.m. | Southern and Central Maine | Severe Storm | 75 | 63000 | 6:34 p.m. January 18
February
2006-02-04 | WECC | 1:34 a.m. | Snohomish County, Washington | Strong Winds | 150 | 123827 | 12:01 a.m. February 06
2006-02-04 | WECC | 4:30 a.m. | Western Washington | Severe Windstorm | -- | 140000 | 8:00 a.m. February 08
2006-02-11 | RFC | 9:00 p.m. | Baltimore Metropolitan and Central Maryland | Major Snow Storm | 500 | 180000 | 11:00 p.m. February 14
2006-02-12 | RFC | 12:06 a.m. | Washington DC, Montgomery and Prince Georges Counties MD | Major Snow Storm | 300 | 60000 | 5:44 p.m. February 14
2006-02-12 | RFC | 2:00 a.m. | Entire Atlantic City Electric territory Southern New Jersey | Winter Snow/Ice Storm | 80 | 130000 | 4:00 p.m. February 14
2006-02-12 | RFC | 2:00 a.m. | Entire Delmarva Power service territory | Winter Snow/Ice Storm | 50 | 58000 | 7:00 a.m. February 13
2006-02-12 | RFC | 5:55 a.m. | Northern and Northwestern Virginia | Severe Snow Storm | 250 | 126000 | 2:00 p.m. February 12
2006-02-16 | RFC | 12:00 p.m. | Muskegon, Michigan easterly to Bay City, Michigan | Severe Thunderstorm/ Snow/Ice Storm | 100 | 252089 | 11:00 p.m. February 20
2006-02-16 | MRO | Ongoing | North Dakota | Fuel Supply - Deficiency Coal Rail Transportation Interruption | 1650 | 0 | Ongoing
2006-02-17 | NPCC | 4:32 a.m. | Upstate New York | Severe Weather | 250 | 200000 | 12:00 p.m. February 17
2006-02-18 | WECC | 8:50 a.m. | Colorado | Inadequate Electric Resources to Serve Load | 428 | - | 4:09 p.m. February 18
2006-02-27 | WECC | 6:25 p.m. | Northern and Central California | Severe Winter Storm | - | 160000 | 2:30 p.m. March 01
March
2006-03-09 | SERC | 2:00 p.m. | Arkansas, Mississippi, Louisiana, Southeast Texas | Severe Weather | N/A | 73000 | 10:00 p.m. March 09
2006-03-12 | RFC | 8:30 p.m. | Springfield, Illinois and vicinity | Severe Weather | 200 | 65400 | 12:00 p.m. March 14
April
2006-04-02 | RFC | 9:00 p.m. | Southern half of Indiana | Major Storms/Tornadoes | 1000 | 186000 | 4:25 a.m. April 05
2006-04-07 | PR | 8:43 a.m. | Island of Puerto Rico | Voltage Reduction/Load Shed | 116 | 54700 | 9:29 a.m. April 07
2006-04-08 | SERC | 4:00 a.m. | North and Central Alabama and Northern Georgia areas | Severe Weather/ Tornadoes | 300 | 115589 | 11:00 a.m. April 08
2006-04-17 | ERCOT | 3:25 p.m. | ERCOT Region of Texas | Load Shed/Declared EECP | 1000 | 200000 | 7:30 p.m. April 17
2006-04-17 | ERCOT | 4:10 p.m. | System-wide greater Houston metro area (and across ERCOT) | Load Shed/Made Public Appeals/Rolling Blackouts | 260 | 68000 | 6:11 p.m. April 17
2006-04-17 | ERCOT | 4:11 p.m. | North and East Texas | Load Shed/ Declared EECP | 380 | 489478 | 7:20 p.m. April 17
2006-04-17 | ERCOT | 4:20 p.m. | State of Texas (all of Austin Energy) | Load Shed/Made Public Appeals/Rolling Blackouts | 37- 40 | 8,000 -10,000 | 6:30 p.m. April 17
2006-04-17 | ERCOT | 4:35 p.m. | AEP Texas Central/Texas North | Load Shed/Declared EECP | 108 | 51404 | 6:10 p.m. April 17
2006-04-21 | ERCOT | 7:00 a.m. | System-wide greater Houston metro area | Severe Weather | 219 | 82000 | 10:00 a.m. April 21
2006-04-29 | PR | 2:55 p.m. | Island of Puerto Rico | Lightning Storm | 237 | 164105 | 3:45 p.m. April 29
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2006+A55
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
May
2006-05-03 | WECC | 3:30 p.m. | City of Bakersfield area | Transmission Equipment Failure/Fire | 300 | 55655 | 9:35 p.m. May 03
2006-05-04 | PR | 2:12 p.m. | Island of Puerto Rico | Load Shed | 140 | 94639 | 2:45 p.m. May 04
2006-05-19 | WECC | 3:13 p.m. | San Francisco Bay area, California | Lightning Strike | 133 | - | 10:30 p.m. May 19
2006-05-25 | RFC | 7:50 p.m. | Southwest Ohio, Northern Kentucky, Central Indiana | Severe Weather | 800 | 210000 | 9:00 a.m. May 27
June
2006-06-01 | HECO | 2:12 p.m. | Island of Oahu | Load Shed | 120 | 29300 | 6:09 p.m. June 01
2006-06-01 | RFC | 6:00 p.m. | Chester, Montgomery, Delaware, Philadelphia and Bucks Counties, Pennsylvania | Severe Weather | N/A | 111555 | 9:00 a.m. June 03
2006-06-01 | RFC | 6:30 p.m. | Central Maryland | Severe Thunderstorms | 335 | 70000 | 2:00 p.m. June 03
2006-06-11 | SERC | 6:00 p.m. | Charlotte, North Carolina Metropolitan area | Severe Thunderstorm | 70 | 72000 | 9:00 p.m. June 11
2006-06-22 | RFC | 2:00 p.m. | Ohio and Indiana | Severe Thunderstorms | 750 | 195000 | 11:00 p.m. June 27
July
2006-07-02 | RFC | 6:39 p.m. | Northern Virginia | Severe Thunderstorms | 300 | 75000 | 12:31 a.m. July 03
2006-07-04 | SERC | 5:30 p.m. | Northern Virginia | Severe Thunderstorms | 335 | 67000 | 8:18 p.m. July 04
2006-07-16 | RFC | 2:00 p.m. | Middle 1/3 of Michigan Lower Peninsula | Severe Lightning Storms | 150 | 315000 | 12:00 a.m. July 21
2006-07-17 | NPCC | 6:50 p.m. | Northwest Queens, New York City | Severe Weather/Public Appeals Made/Voltage Reduction | N/A | 25000 | 3:06 a.m. July 25
2006-07-17 | RFC | 9:00 p.m. | Northern Counties of Illinois | Severe Lightning Storms | N/A | 170519 | 9:00 a.m. July 18
2006-07-18 | RFC | 6:36 p.m. | Chester, Montgomery, Delaware, Philadelphia and Bucks Counties, Pennsylvania | Severe Lightning Storms | N/A | 492955 | 11:59 p.m. July 23
2006-07-18 | NPCC | 8:07 p.m. | Norwalk, Stamford, Connecticut | Lightning Storms/Tripped Lines | 0 | 0 | 10:32 p.m. July 18
2006-07-19 | SERC | 11:00 a.m. | Greater Little Rock, Arkansas | Load Reduction/Public Appeals Made | 40 | 8000 | 5:54 p.m. July 19
2006-07-19 | MRO | 6:00 p.m. | Greater St. Louis Metropolitan area (Missouri and Illinois) | Severe Storms (3) (Many customers experienced multiple outages.) | 1500 | 700,000 (peak) 2,500,000 (actual) | 8:00 a.m. July 31
2006-07-22 | WECC | 1:09 p.m. | California | Widespread Heat Wave/Public Appeals Made | 200 | 1271893 | 4:00 p.m. July 27
2006-07-24 | WECC | 2:33 p.m. | California | Widespread Heat Wave/CAISO Implementation of Stage 2 Electrical Emergency Plan | 414 | Interruptible Tarriff 1-6 customers | 5:33 p.m. July 24
2006-07-24 | WECC | 2:33 p.m. | California | Widespread Heat Wave/CAISO Implementation of Stage 2 Electrical Emergency Plan | 695 | N/A | 5:33 p.m. July 24
2006-07-27 | RFC | 6:38 p.m. | Chester, Montgomery, Delaware, Philadelphia and Bucks Counties, Pennsylvania | Severe Thunderstorms | N/A | 167564 | 9:36 p.m. July 29
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2006
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
August
2006-08-01 | RFC | 12:00 p.m. | Northern Ohio | Made Public Appeals/Heat Wave | N/A | N/A | 7:00 p.m. August 01
2006-08-01 | RFC | 1:00 p.m. | Ohio, Indiana, Kentucky | Made Public Appeals | 90 | N/A | 8:30 p.m. August 01
2006-08-02 | MRO | 12:00 p.m. | Midwest ISO's Market Sub-regions: AMRN, CIN, CILC, CWLD, CWLP, FE, HE, IP, IPL, LGEE, MECS, NIPS, SIGE, SIPC | Declared Energy Emergency Alert 2/Heat Wave | N/A | N/A | 4:45 p.m. August 02
2006-08-02 | NPCC | 1:00 p.m. | New England | System Wide Voltage Reduction | N/A | N/A | 4:35 p.m. August 02
2006-08-02 | NPCC | 7:00 p.m. | New England | Severe Thunderstorms | 100-140 | 77000 | 1:00 a.m. August 03
2006-08-03 | PR | 2:16 p.m. | Island of Puerto Rico | Shed Firm Load | 369 | 227480 | 2:46 p.m. August 03
2006-08-07 | RFC | 1:00 p.m. | Tulsa, Oklahoma | Made Public Appeals | 75 | Major Industrial Customer Load Reduction | 6:00 p.m. August 07
2006-08-10 | WECC | 8:00 p.m. | Southwest Idaho and Eastern Oregon | Severe Thunderstorm | 80 to 100 | 65000 | 12:00 p.m. August 12
2006-08-24 | PR | 9:58 p.m. | Island of Puerto Rico | Shed Firm Load/Reduced Voltage | 180 | 106000 | 11:25 p.m. August 24
September
2006-09-01 | SERC | 5:30 a.m. | Eastern North Carolina | Tropical Storm Ernesto | N/A | 61000 | 10:00 a.m. September 01
2006-09-01 | SERC | 6:41 a.m. | Virginia and North Carolina | Tropical Storm Ernesto | 500 | 333000 | 3:25 p.m. September 03
2006-09-01 | RFC | 10:00 a.m. | Southern Delmarva Peninsula | Tropical Storm Ernesto | 380 | 105000 | 2:00 p.m. September 04
2006-09-01 | RFC | 3:00 p.m. | Chester, Montgomery, Delaware, Philadelphia and Bucks Counties, Pennsylvania | Tropical Storm Ernesto | N/A | 146094 | 11:00 p.m. September 04
2006-09-01 | RFC | 8:00 p.m. | Southern New Jersey Counties | Tropical Storm Ernesto | 400 | 100000 | 5:00 p.m. September 04
2006-09-14 | PR | 8:56 a.m. | Island of Puerto Rico | Shed Firm Load/ Reduced Voltage | 59 | 34716 | 9:08 a.m. September 14
2006-09-28 | SERC | 8:08 p.m. | North, Central and Eastern Virginia and Northern North Carolina | Severe Thunderstorms | 84 | 56500 | 10:10 p.m. September 28
October
2006-10-02 | RFC | 2:00 p.m. | Chicago Metro, Northeast Illinois | Severe Thunderstorms | N/A | 471932 | 6:00 p.m. October 03
2006-10-02 | WECC | 3:05 p.m. | Newhall, San Frenando, Saugus, and Santa Clarita, California | Shed Firm Load | 308 | 130000 | 8:39 p.m. October 02
2006-10-03 | ERCOT | 5:28 p.m. | Grimes, Robertson, Fort Bend, Brazos, Burleson and Walker Counties | Shed Firm Load | 339 | N/A | 9:59 p.m. October 03
2006-10-12 | NPCC | 5:48 p.m. | Western New York State | Snow Storm | 600 | 250000 | 12:00 a.m. October 23
2006-10-12 | NPCC | 8:00 p.m. | Western New York State | Snow Storm | 353 | 120000 | 11:00 p.m. October 21
2006-10-15 | MECO | 7:09 a.m. | Island of Maui | Earthquakes | 110 | 59886 | 4:12 p.m. October 15
2006-10-15 | HECO | 7:09 a.m. | Island of Oahu | Earthquakes | 1170 | 291000 | 2:55 p.m. October 16
2006-10-20 | RFC | 1:00 p.m. | Chester, Montgomery, Delaware, Philadelphia and Bucks Counties, Pennsylvania | High Winds | N/A | 90000 | 5:00 p.m. October 22
2006-10-26 | MR0 | 5:30 a.m. | Metro Denver and Boulder, Colorado | Wet Snow/Winds | N/A | 65000 | 5:10 p.m. October 27
November
2006-11-15 | ERCOT | 10:00 a.m. | System-wide greater Houston area | High Winds | 221 | 83000 | 8:00 p.m. November 15
2006-11-15 | WECC | 1:00 p.m. | Whatcom and Skagit Counties, Washington | High Winds | 50 | 50000 | 2:35 a.m. November 19
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2006
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected [1] | Restoration
2006-11-15 | SERC | 3:00 p.m. | Georgia | Severe Weather | 363 | 109000 | 5:00 p.m. November 15
2006-11-26 | WECC | 1:00 p.m. | Snohomish County, Washington | Wind/Snow Storm | 180 | 63992 | 6:00 p.m. December 02
2006-11-30 | MRO | 9:00 p.m. | Missouri and Illinois | Ice Storm | N/A | 550000 | 6:00 p.m. December 09
December
2006-12-01 | RFC | 6:20 p.m. | Ohio | Wind Storm | N/A | 59106 | 6:00 a.m. December 02
2006-12-10 | WECC | 7:35 p.m. | San Francisco Bay area, California | Unit Tripped | 220 | N/A | 10:14 p.m. December 10
2006-12-13 | WECC | 4:30 a.m. | Western Washington | Wind Storm | N/A | 700000 | 11:59 p.m. December 28
2006-12-14 | WECC | 12:01 a.m. | City of Seattle, Washington | Wind Storm | 750 | 175000 | 8:00 a.m. December 15
2006-12-14 | WECC | 5:30 a.m. | Snohomish County, Washington | Wind Storm | 360 | 172060 | 10:00 p.m. December 20
2006-12-14 | WECC | 9:44 a.m. | Oregon, Washington, Idaho, Montana | Wind Storm | 258 | 24 | 2:34 p.m. December 31
2006-12-14 | WECC | 12:07 p.m. | State of Oregon Coastal area | HIgh Winds | N/A | 111,000 (peak) | 12:00 p.m. December 17
2006-12-14 | WECC | 5:00 p.m. | Greater Tacoma area (City of Fircrest, University Place, City of Lakeland) and portions of South Pierce County in State of Washington | High Winds | 280 | 75000 | 4:00 p.m. December 16
2006-12-14 | WECC | 7:00 p.m. | Oregon Counties: Multnomah, Clackamas, Washington, Marion | High Winds | N/A | 249500 | 8:00 p.m. December 17
2006-12-16 | WECC | 7:30 p.m. | Oregon Counties: Washington, Yamhill | Transmission Equipment/Fire | 350 | 84500 | 1:00 a.m. December 17
2006-12-26 | WECC | 12:01 a.m. | Northern California | Severe Weather | 420 | 850068 | 9:13 a.m. December 31
2006-12-29 | PR | 4:25 p.m. | North Part of the Island | Main Power Transformer Failure/Voltage Reduction/Fire | 50 | 18386 | 6:59 p.m. December 31
2006-12-30 | MRO | 10:25 p.m. | Gosper, Harlan, Franklin, Webster, Clay, Adams, Kearney, Phelps, Dawson, Buffalo, Hall, Hamilton, Sherman, Custer, Valley, Greeley, Howard, Merrick, York, Fillmore, Nance, Boone, Wheeler, Madison, Antelope, Pierce, Platte and Seward Counties in Central Nebraska | Severe Weather | 300-500 | 15000 | 2:25 p.m. January 06
[1] Estimated values.
Note: Estimates for 2004 and 2005 are preliminary.
Source: Form OE-417, "Electric Emergency Incident and Disturbance Report."