## 2007
Table B.1.Major Disturbances and Unusual Occurrences, Year-to-Date through December 2007
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1[1] | Restoration
January
2007-01-05 | PR | 10:44 a.m. | Island of Puerto Rico | Voltage Reduction | 0 | 0 | 11:13 a.m. January 05
2007-01-13 | MRO | 5:00 a.m. | Missouri and Illinois | Ice Storm | N/A | 225000 | 12:00 p.m. January 19
2007-01-13 | RFC | 7:30 a.m. | Eastern and Lower Michigan | Ice Storm | 500 | 129607 | 4:00 p.m. January 19
2007-01-16 | WECC | 2:00 a.m. | Snohomish County, Washington | Major Windstorm | 260 | 110433 | 12:00 a.m. January 17
February
2007-02-13 | RFC | 2:00 p.m. | Indiana and Southwest Ohio | Ice/Wind Storm | 250 | 367500 | 12:00 a.m. February 16
2007-02-13 | RFC | 5:00 p.m. | Central Maryland | Winter Storm | 400 | 155183 | 5:30 a.m. February 17
2007-02-24 | MRO | 4:00 p.m. | NE quarter of State of Iowa and Rock Island, Illinois | Ice Storm | 210 | 75000 | 12:57 a.m. March 04
2007-02-24 | MRO | 6:00 p.m. | Central Iowa and Cedar Rapids areas | Ice Storm | 400 | 140000 | 11:47 p.m. February 24
2007-02-24 | RFC | 7:23 p.m. | Cedar Rapids, Iowa | Ice Storm | 750 | 215000 | 12:47 a.m. February 25
2007-02-28 | WECC | 12:45 a.m. | Northern California | Winter Storm | 110 | 671189 | 8:45 p.m. March 02
March
2007-03-01 | SERC | 9:40 p.m. | Parts of Alabama, Mississippi, Georgia, Florida | Major Storm | 95 | 25445 | 11:30 p.m. March 02
2007-03-31 | ERCOT | 7:30 a.m. | Houston, Texas | Severe Thunderstorms | 179 | 67000 | 7:00 p.m. March 31
April
2007-04-05 | NPCC | 9:20 p.m. | Southern and Coastal Maine | Heavy Snow Storm | - | 117142 | 1:10 p.m. April 06
2007-04-12 | WECC | 12:32 a.m. | City of Los Angeles, California | High Winds | 200 | 158977 | 9:02 p.m. April 12
2007-04-12 | WECC | 9:09 a.m. | San Francisco Bay Area, California | Trip of a Unit | 130 | - | 11:23 a.m. April 12
2007-04-14 | NPCC | 9:00 a.m. | Massachusetts, New Hampshire, Rhode Island | High Winds | 65-80 | 70000 | 11:00 a.m. April 14
2007-04-16 | NPCC | 8:00 a.m. | New Hampshire | Severe Thunderstorms | - | 102568 | 7:00 p.m. April 16
2007-04-16 | NPCC | 10:14 a.m. | Southern and Coastal Maine | Heavy Snow Storm | - | 127545 | 10:18 p.m. April 18
2007-04-16 | SERC | 11:00 a.m. | North and South Carolina | HIgh Winds | - | 33000 | 7:00 p.m. April 16
2007-04-16 | RFC | 2:00 p.m. | Central Maryland - Baltimore City and surrounding Counties | Severe Thunderstorms | 160 | 138000 | 5:00 p.m. April 18
2007-04-16 | SERC | 2:04 p.m. | North, East and Central Virginia/Parts of Northeast North Carolina | High Winds | 90 | 242000 | 7:03 p.m. April 16
May
2007-05-02 | ERCOT | 1:30 p.m. | North Texas, Dallas Fort Worth Metroplex and Surrounding Counties, South to Waco and North to Red River | Severe Storms | - | 300000 | 8:00 p.m. May 03
2007-05-10 | WECC | 9:57 a.m. | San Francisco Bay Area, California | Unit Tripped | 150 | - | 1:47 p.m. May 10
2007-05-14 | WECC | 11:15 a.m. | San Francisco Bay Area, California | Unit Tripped | 150 | - | 1:50 p.m. May 14
2007-05-15 | RFC | 3:00 p.m. | Southeastern Michigan | Severe Thunderstorms | 500 | 66000 | 7:00 a.m. May 17
2007-05-16 | NPCC | 6:00 p.m. | All of Connecticut | Severe Storm | - | 67000 | 5:00 a.m. May 19
2007-05-21 | WECC | 1:48 p.m. | San Franscisco Bay Area, California | Unit Tripped | 140 | - | 4:50 p.m. May 21
June
2007-06-01 | WECC | 1:00 p.m. | Restricted Hydroelectric Capability | Fuel Supply Deficiency | - | - | Ongoing
2007-06-05 | WECC | 10:56 a.m. | Southwest Idaho and Eastern Oregon | Load Shedding | 424 | 80000 | 11:51 a.m. June 05
2007-06-27 | NPCC | 3:41 p.m. | Northern Manhattan NY (Yorkville) and SW Bronx (Motthaven, Melrose, High Bridge Sections) | Lightning | 460 | 137000 | 4:30 p.m. June 27
Table B.1.Major Disturbances and Unusual Occurrences, Year-to-Date through December 2007
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
2007-06-27 | NPCC | 3:42 p.m. | New York State | Loss of Load | 460 | - | 4:30 p.m. June 27
2007-06-29 | WECC | 9:23 a.m. | Metropolitan Phoenix Area | Loss of Load | 399 | 98700 | 10:09 a.m. June 29
July
2007-07-03 | WECC | 10:59 a.m. | CAISO Controlled Grid | Public Appeal | N/A | N/A | 6:00 p.m. July 05
2007-07-05 | RFC | 7:00 p.m. | Southeastern Michigan | Severe Storm | - | 69000 | 7:00 a.m. July 08
2007-07-06 | WECC | 5:18 p.m. | Southeast Idaho and Eastern Oregon | Electrical Separation/Load Shedding/Made Public Appeal | 60 | 0 | 6:20 p.m. July 06
2007-07-10 | NPCC | 11:00 a.m. | Eastern New York | Major Storms | 650 | 300000 | 6:00 a.m. July 12
2007-07-16 | WECC | 4:17 p.m. | St. George, Utah | Fire/Load Shedding | 306 | - | 9:00 p.m. July 16
2007-07-18 | RFC | 6:00 p.m. | Northern Counties of Illinois | Severe Weather | 300 | 135000 | 2:00 a.m. July 19
2007-07-19 | RFC | 3:00 p.m. | Southwestern Region of Service Territory | Major Storm | - | 60000 | 11:30 p.m. July 22
2007-07-19 | SERC | 3:50 p.m. | North, East and Central Virginia | Major Storms | 72 | 107000 | 10:15 p.m. July 19
August
2007-08-08 | SERC | 1:00 p.m. | Portions of North Carolina and South Carolina | Made Public Appeal | N/A | N/A | 9:00 p.m. August 08
2007-08-08 | RFC | 3:56 p.m. | Mid-Altantic Region of PJM | Voltage Reduction/Made Public Appeal | N/A | N/A | 5:59 p.m. August 08
2007-08-09 | SERC | 12:45 p.m. | Portions of North Carolina and South Carolina | Made Public Appeal | N/A | N/A | 9:00 p.m. August 09
2007-08-09 | RFC | 2:53 p.m. | Highland Area of Pittsburgh, Pennsylvania | Severe Thunderstorms | 90 | 55000 | 4:11 p.m. August 09
2007-08-10 | SERC | 12:20 p.m. | Portions of North Carolina and South Carolina | Made Public Appeal | N/A | N/A | 9:00 p.m. August 10
2007-08-13 | SERC | 1:30 a.m. | State of Missouri | Severe Thunderstorm | N/A | 63000 | 12:00 a.m. August 14
2007-08-14 | SPP | 2:00 p.m. | CSWS Control Area of Southwest Power Pool Parts of Oklahoma, Texas, Louisiana, Arkansas | Declared Energy Emergency Alert2/Heat Wave | 20 | - | 6:00 p.m. August 14
2007-08-16 | SERC | 9:30 p.m. | Virginia and Eastern North Carolina - Primarily in Central Virginia | Severe Weather | 200 | 93300 | 10:49 p.m. August 17
2007-08-19 | SERC | 11:34 p.m. | Central and Eastern Virginia | Severe Thunderstorms | 100 | 58500 | 1:10 a.m. August 20
2007-08-23 | RFC | 4:00 p.m. | Northern Illinois | Severe Storms | N/A | 629590 | 10:49 p.m. August 28
2007-08-24 | RFC | 6:00 p.m. | Southeastern Michigan | Severe Storm | N/A | 75000 | 6:30 a.m. August 28
2007-08-29 | WECC | 1:53 p.m. | Modesto California and the Surrounding Areas | Shed Load | 180 | 26000 | 2:57 p.m. August 29
2007-08-29 | WECC | 4:00 p.m. | CAISO Controlled Grid | Made Public Appeal | N/A | N/A | 6:00 p.m. August 30
2007-08-31 | WECC | 12:45 p.m. | CAISO Controlled Grid | Declared Energy Emergency Alert 1/Heat wave | N/A | N/A | 8:00 p.m. August 31
September
2007-09-03 | WECC | 12:30 p.m. | San Diego County, Southern Orange County, California | High Temperatures/Made Public Appeals | N/A | N/A | 5:30 p.m. September 03
2007-09-04 | WECC | 8:30 a.m. | San Diego County, Southern Orange County, California | High Temperatures/Made Public Appeals | N/A | N/A | 3:30 p.m. September 04
2007-09-05 | ERCOT | 7:53 a.m. | Central Texas, ERCOT Grid | Severe Weather/Transmission Fault-Units Tripped | 1084 | N/A | 1:11 p.m. September 05
2007-09-06 | WECC | 8:00 p.m. | Hydro Electric System | Fuel Supply Deficiency | N/A | N/A | Ongoing
2007-09-13 | SPP | 4:00 a.m. | Between Galveston and Beaumont, Texas | Hurricane Humberto | N/A | 118000 | 7:00 a.m. September 14
Table B.1.Major Disturbances and Unusual Occurrences, Year-to-Date through December 2007
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
2007-09-17 | RFC | 7:01 p.m. | City of Crawfordsville, Indiana | Electrical System Separation | 50 | 9600 | 7:48 p.m. September 17
2007-09-18 | MRO | 5:14 a.m. | Minnesota, Wisconsin, North Dakota, South Dakota and Michigan | Electrical System Separation/Load Shedding/ Implemented Emergency Alert/Severe Storms | 16 | 6000 | 6:10 a.m. September 18
2007-09-18 | MRO | 5:15 a.m. | Minnesota, North Dakota, Manitoba | Electrical System Separation/Load Shedding/ Implemented Emergency Alert/Severe Storms | 8,000-10,000 | GRE (1,900) Total 11,175 | 6:30 a.m. September 18
2007-09-18 | RFC | 5:15 a.m. | Manitoba, Minnesota, North Dakota, Portions of South Dakota and Wisconsin. Midwest ISO's Market subregions: OTP, NSP, GRE, ALTW, MP | Electrical System Separation/Load Shedding/ Implemented Emergency Alert/ Severe Storms | 8,000-10,000 | 11175 | 12:00 a.m. September 18
2007-09-24 | RFC | 1:38 p.m. | Southwest Michigan | Unit Tripped | 320 | N/A | 4:26 p.m. September 24
October
2007-10-18 | WECC | 3:00 p.m. | Western Washington | High Winds | N/A | 160000 | 11:36 a.m. October 22
2007-10-22 | WECC | 2:01 p.m. | Southern California | Brush Fire/Load Shedding/Implemented Emergency Alert | 451 | 90323 | 2:22 p.m. October 22
2007-10-22 | WECC | 2:05 p.m. | Southern California | Brush Fire/Load Shedding | 700 | 300000 | 2:22 p.m. October 22
2007-10-22 | WECC | 2:06 p.m. | San Diego County, California | Brush Fire/Load Shedding | 199 | 68780 | 2:43 p.m. October 22
2007-10-26 | WECC | 6:44 a.m. | Southern Califonia | Brush Fire/Load Shedding | 280 | 20345 | 10:46 a.m. October 26
2007-10-26 | WECC | 6:44 a.m. | Riverside, California | Load Shedding | 240 | 104000 | 10:43 a.m. October 26
November
2007-11-03 | NPCC | 6:00 p.m. | Eastern Massachusetts, Rhode Island, Cape Cod | Tropical Storm | 100 | 62843 | 6:00 a.m. November 04
December
2007-12-01 | NPCC | 6:04 p.m. | State of Maine | Voltage Reduction/Made Public Appeal/Fuel Deficiency | 0 | 0 | 10:00 p.m. December 02
2007-12-04 | PR | 2:16 p.m. | Island of Puerto Rico | Voltage Reduction | 0 | 0 | 5:53 p.m. December 04
2007-12-10 | SPP | 3:08 a.m. | Tulsa, Oklahoma | Ice Storm | N/A | 256663 | 8:00 a.m. December 19
2007-12-11 | MRO | 4:00 a.m. | Eastern half of the State of Kansas | Ice Storm | 500 | 95000 | 3:30 p.m. December 20
2007-12-11 | PR | 8:57 p.m. | Island of Puerto Rico | Voltage Reduction | 0 | 0 | 9:22 p.m. December 11
2007-12-23 | RFC | 1:00 a.m. | The Entire ComEd Service Territory | Severe Storm | N/A | 237000 | 9:00 p.m. December 23
2007-12-23 | RFC | 5:30 a.m. | Lower 2/3 of Michigan Lower Peninsula | Winter Storm | 50 | 134288 | 6:07 p.m. December 25
[1] Estimated values.
Note: Estimates for 2007 are preliminary.
Source: Form OE-417, "Electric Emergency Incident and Disturbance Report."