## 2008
Report No.: DOE/EIA-0226 (2010/03) Data for: December 2009 Report Released: March 15, 2010 Next Release Date: Mid-April 2010
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2008
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
Date/Time
January
2008-01-04 | WECC | 4:00 a.m. | Northern California | Winter Storm | 500 | 2606931 | 5:00 p.m. January 14
2008-01-04 | WECC | 7:47 a.m. | Sacramento County | Severe Storm | 300 | 150000 | 4:30 p.m. January 04
2008-01-29 | WECC | 5:00 a.m. | San Francisco Bay Area, California | Exciter Faulted | N/A | - | 12:17 p.m. January 29
2008-01-29 | SERC | 4:00 p.m. | Arkansas, Mississippi, North Louisiana | Severe Thunderstorms | N/A | 110000 | 8:00 a.m February 03
2008-01-29 | RFC | 10:00 p.m. | Southeastern Michigan | Wind/Ice Storm | N/A | 86915 | 6:30 p.m. February 01
2008-01-29 | RFC | 11:23 p.m. | South Metropolitan Areas of Dayton, OHio | High Winds | 380 | 45000 | 12:48 a.m. January 30
2008-01-30 | NPCC | 3:06 a.m. | Western, New York | High Winds | 50 | 54316 | 2:50 p.m. February 01
February
2008-02-01 | WECC | 6:00 a.m. | San Francisco Bay Area, California | Equipment Faulted | N/A | - | 7:49 a.m. February 01
2008-02-02 | WECC | 3:58 a.m. | San Francisco Bay Area, California | Equipment Faulted | N/A | - | 4:27 p.m. February 02
2008-02-05 | SERC | 10:00 p.m. | State of Kentucky | Severe Weather | N/A | 76000 | 3:00 a.m. February 06
2008-02-06 | SERC | 9:00 a.m. | Mid to West Tennessee | Severe Weather | N/A | 57000 | 11:00 a.m. February 06
2008-02-09 | WECC | 11:59 a.m. | Near Arnold, California | Electrical System Separation | 0 | 0 | 3:33 p.m. February 09
2008-02-10 | RFC | 4:00 a.m. | Southwestern Pennsylvania, West Virginia, Virginia, Maryland | Severe Weather | 412 | 100969 | 8:43 p.m. February 12
2008-02-10 | RFC | 11:00 a.m. | Virginia, West Virginia, Ohio, Pennsylvania | High Winds | N/A | 212560 | 11:36 p.m. February 10
2008-02-10 | RFC | 11:00 a.m. | Virginia and West Virginia Area of AEP | High Winds | N/A | 97342 | 5:05 p.m. February 14
2008-02-10 | SERC | 2:06 p.m. | Dominion Service Territory | High Winds | 170 | 114618 | 11:36 p.m. February 10
2008-02-10 | SERC | 6:02 p.m. | Greenboro, North Carolina and I-40 Corridor | High Winds | 300 | 50718 | 4:00 a.m. February 11
2008-02-12 | SERC | 3:00 p.m. | Arkansas, Mississippi, Louisiana | Severe Weather | N/A | 54000 | 5:00 p.m. February 15
2008-02-13 | NPCC | 6:43 p.m. | State of Maine | Ice Storm | 50 | 50462 | 12:00 p.m. February 14
2008-02-14 | WECC | 8:15 a.m. | Utah | Load Shedding | 2818 | 74031 | 10:46 a.m. February 14
2008-02-15 | WECC | 3:06 p.m. | Antioch, California | Electrical System Separation | 10 | 10008 | 7:36 p.m. February 15
2008-02-25 | RFC | 8:00 a.m. | Restricted Coal Capability | Fuel Supply Deficiency | N/A | 0 | 8:00 a.m. March 12
2008-02-26 | SERC | 5:00 a.m. | Southern Service Area/Alabama and Georgia | Thunderstorms | 484 | 145380 | 3:00 p.m. February 26
2008-02-26 | FRCC | 1:09 p.m. | Various Cities in Florida | Under Frequency/Load Shedding | 140 | 47661 | 2:10 p.m. February 26
2008-02-26 | FRCC | 1:09 p.m. | Tampa Electric Service Territory | Under Frequency/Load Shedding | 318 | 53965 | 2:40 p.m. February 26
2008-02-26 | FRCC | 1:09 p.m. | Primary Dade County Florida | Transmission Equipment Failure | 3200 | 584384 | 4:11 p.m. February 26
2008-02-26 | FRCC | 1:09 p.m. | FRCC Region-West Coast Florida | Shed Firm Load | 120 | 56000 | 1:47 p.m. February 26
2008-02-26 | FRCC | 1:10 p.m. | The entire PEF system was affected, including the following counties: Alachua, Bay, Citrus, Columbia, Dixie, Franklin, Gilchrist, Gulf, Hamilton, Hardee, Hernando, Highlands, Jefferson, Lafayette, Lake, Levy, Madison, Marion, Orange, Osecola, Pasco, Pinellas, Polk, Seminole, Sumter, Suwannee, Taylor, Volusia, Wakulla. | Under Frequency/Load Shedding | 500 | 150000 | 3:45 p.m. February 26
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2008
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
Date/Time
March
2008-03-04 | SERC | 9:30 p.m. | North and South Carolina | Thunderstorms | 300 | 55267 | 10:45 p.m. March 04
2008-03-08 | SERC | 2:14 p.m. | Virginia and Eastern Part of North Carolina | Windstorm | 210 | 141130 | 9:59 p.m. March 08
2008-03-08 | RFC | 4:00 p.m. | Chester, Montgomery, Delaware, Philadelphia and Bucks County, Pennsylvania | Severe Weather | N/A | 168449 | 1:44 p.m. March 10
2008-03-15 | SERC | 8:55 p.m. | Parts of Alabama and Georgia | Major Storm | 200 | 157744 | 8:30 p.m. March 16
April
2008-04-04 | SERC | 12:31 p.m. | Arkansas, North Louisiana, Mississippi | Severe Thunderstorms | N/A | 122600 | 5:00 p.m. April 04
2008-04-09 | TRE | 4:00 p.m. | North, Central and East Texas | Severe Weather | N/A | 488689 | 1:15 a.m. April 13
May
2008-05-08 | WECC | 10:21 a.m. | California | Load Shedding | 483 | 0 | 12:56 a.m. May 08
2008-05-11 | SERC | 6:00 a.m. | Georgia | Severe Thunderstorms | 100 | 80539 | 2:30 p.m. May 12
2008-05-11 | RFC | 4:50 p.m. | City of Crawfordsville, Indiana | Electric System Separation | 47 | 9700 | 8:43 p.m. May 11
2008-05-12 | RFC | 12:01 a.m. | Cape May, Cumberland, Gloucester, Salem, Camden, Atlantic, Burliington Counties, New Jersey | Severe Storm | 55 | 135000 | 12:00 a.m. May 14
2008-05-27 | NPCC | 2:02 p.m. | South West Connecticut | Lightning Storm | 130 | 56400 | 3:52 p.m. May 27
2008-05-30 | RFC | 9:30 a.m. | Northern and Western Counties of Illinois | Severe Storms | N/A | 109000 | 11:00 p.m. May 30
2008-05-30 | SERC | 2:05 p.m. | South Louisiana | Load Shedding, Inadequate Electric Resources to Serve Load | 200-250 | N/A | 8:00 p.m. May 30
2008-05-30 | RFC | 10:00 p.m. | Northeastern Marion County, Indiana | Severe Thunderstorms | N/A | 70000 | 11:59 p.m. June 04
June
2008-06-03 | RFC | 5:00 p.m. | Maryland, West Virginia, Virginia | Severe Weather | 634 | 157168 | 11:00 p.m. June 07
2008-06-04 | RFC | 3:00 p.m. | Montgomery, Prince Georges, Maryland, Washington, D.C. | Lightning Storm | N/A | 249408 | 1:00 a.m. June 05
2008-06-04 | RFC | 3:00 p.m. | Entire BGE Service Territory | Severe Storms | N/A | 108000 | 5:30 a.m. June 07
2008-06-04 | SERC | 3:04 p.m. | Northern Virginia | Thunderstorms | 850 | 253800 | 9:30 p.m. June 05
2008-06-04 | PR | 3:14 p.m. | Island of Puerto Rico | Load Shedding/Voltage Reduction | 90 | 100948 | 3:46 p..m. June 04
2008-06-06 | RFC | 3:18 p.m. | Lower 2/3 of Michigan's Lower Peninsula | Lightning Storm | 100 | 358000 | 8:00 a.m. June 12
2008-06-08 | RFC | 9:30 a.m. | The Entire ComEd Territory | Severe Weather | N/A | 125000 | 7:00 a.m. June 09
2008-06-08 | RFC | 6:00 p.m. | Southwestern Michigan (DECO Service Territory) | Severe Storm | 500 | 150000 | 11:30 p.m. June 16
2008-06-09 | SERC | 2:00 p.m. | Entergy System | Indequate Electric Resources to Serve Load | 300 | 19 | 7:00 p.m. June 09
2008-06-09 | RFC | 2:52 p.m. | Area Around West Orange Switching Station, New Jersey | Fire/Breaker Failure | 215 | 75654 | 8:25 p.m. June 09
2008-06-10 | NPCC | 11:00 a.m. | Upstate New York | Severe Storm | 400 | 68000 | 5:30 p.m. June 13
2008-06-10 | SERC | 2:00 p.m. | Entergy System | Inadequate Electric Resources to Serve Load | 300 | 19 | 6:00 p.m. June 10
2008-06-10 | RFC | 6:00 p.m. | Bergen, Essex and Hudson Counties, New Jersey | Severe Storms | N/A | 248800 | 11:30 a.m. June 14
2008-06-10 | RFC | 7:00 p.m. | Chester, Montgomery, Delaware, Philadelphia and Bucks County, Pennsylvania | Severe Thunderstorms | N/A | 198000 | 3:59 p.m. June 14
2008-06-10 | NPCC | 11:00 p.m. | All Six New England States | Storm | 50 | 60000 | 9:00 a.m. June 11
2008-06-11 | NPCC | 1:15 p.m. | New York State | Uncontrolled Loss | 200 | 61000 | 2:05 p.m. June 11
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2008
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
Date/Time
2008-06-12 | RFC | 3:30 p.m. | East Central Iowa | Flooding and Uncontrolled Loss | 200 | 21000 | 4:00 p.m. June 18
2008-06-15 | RFC | 8:00 a.m. | The Entire ComEd Territory | Severe Weather | N/A | 165000 | 8:00 p.m. June 15
2008-06-15 | RFC | 7:06 p.m. | City of Crawfordsville, Indiana | Electrical System Separation | 57 | 9700 | 8:42 p.m. June 15
2008-06-16 | SERC | 4:15 p.m. | Northern Virginia | Thunderstorms | 800-1,000 | 115000 | 11:19 p.m. June 16
2008-06-17 | TRE | 9:01 a.m. | North, Central and East Texas | Severe Thunderstorms | N/A | 234393 | 8:30 p.m. June 19
2008-06-17 | SPP | 8:35 p.m. | Southwestern Public Service Company Operating in the Panhandle of Texas and New Mexico | Electrical System Separation/Severe Thunderstorms | 560 | 18000 | 1:55 a.m. June 18
2008-06-17 | TRE | 8:40 p.m. | Texas Panhandle and Texas South Plains Regions, and Oklahoma Panhandle | Thunderstorms/Uncontrolled Loss of Load | 276 | 37330 | 11:00 p.m. June 17
2008-06-21 | WECC | 3:09 p.m. | Near Rogers Flat, California | Electrical System Separation/Severe Lightning Storms | 3 | 477 | 6:53 p.m. June 21
2008-06-22 | RFC | 4:55 p.m. | Northwest Indiana | Lightning Stirke/Uncontrolled Loss of Load | 650 | N/A | 5:05 p.m. June 22
2008-06-23 | RFC | 1:44 p.m. | Northcentral Indiana | Fire/Breaker Failure | 425 | N/A | 1:45 p.m. June 23
2008-06-23 | FRCC | 4:52 p.m. | Pinellas County, Florida | Transmission Equipment Failure/Load Shedding | 113 | 32593 | 11:28 p.m. June 23
2008-06-26 | RFC | 5:00 p.m. | Southeastern Michigan (DTE Service Territory) | Thunderstorms | N/A | 53000 | 9:30 p.m. June 26
2008-06-27 | MRO | 4:30 p.m. | Omaha, Nebraska (Metro Area) | Severe Wind Storm | 650 | 126000 | 5:30 p.m. June 27
July
2008-07-01 | WECC | 7:31 a.m. | San Francisco Bay Area, California | Unit Tripped | 160 | - | 12:00 p.m. July 01
2008-07-02 | RFC | 3:00 p.m. | Lower 2/3 of Michigan's Lower Peninsula | Severe Weather | 125 | 239663 | 12:00 p.m. July 06
2008-07-02 | WECC | 4:00 p.m. | Restricted Hydroelectric Capability | Fuel Supply Deficiency | - | - | Ongoing
2008-07-02 | WECC | 7:16 p.m. | Santa Barbara County, California, near Goleta | Wild Land Fire | 208 | 200000 | 11:28 p.m. July 02
2008-07-02 | WECC | 7:36 p.m. | Goleta and Santa Barbara Areas of Southern California | Brush Fire/Lines Loss/Transmission Emergency Declared | 119 | 37784 | 1:10 a.m. July 03
2008-07-02 | RFC | 8:00 p.m. | Southeastern Michigan (DTE Service Territory) | Thunderstorms | N/A | 56000 | 3:00 a.m. July 03
2008-07-07 | WECC | 12:15 p.m. | ISO Balancing Area | Heat Wave/Potential Fire Threat/Made Public Appeals | 0 | 0 | 5:00 p.m. July 10
2008-07-10 | WECC | 2:22 p.m. | San Francisco Bay Area, California | Unit Tripped | 240 | - | 5:21 p.m. July 10
2008-07-21 | MRO | 12:49 a.m. | Sioux City, Carroll, Des Moines, Iowa City, and Davenport Iowa, Rock Island, Moline, and Surrounding Area of Illinois | Storm | 170 | 185000 | 6:00 p.m. July 22
2008-07-22 | RFC | 3:00 a.m. | Indiana | Severe Thunderstorms | N/A | 58000 | 7:32 p.m. July 24
2008-07-22 | RFC | 3:00 a.m. | Southwest Ohio | Severe Thunderstorms | N/A | 56000 | 3:30 a.m. July 23
2008-07-22 | SPP | 2:00 p.m. | Texas Panhandle and Southeastern New Mexico | Indequate Electric Resources to Serve Load/Public Appeal | N/A | - | 5:09 a.m. July 24
2008-07-23 | TRE | 5:56 a.m. | Port Isabel, Harlingen, Weslaco, Pharr, San Benito, Mission, McAllen, Edinburg, Texas | Hurricane Dolly | 703 | 211266 | 4:00 a.m. July 31
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2008
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
Date/Time
2008-07-24 | NPCC | 7:23 a.m. | Bangor Hydro System, northern Maine | Electric System Separation/Severe Lightning Storms | 180 | 110000 | 5:41 p.m. July 24
August
2008-08-02 | SERC | 8:00 p.m. | Georgia and Alabama | Severe Thunderstorms | 400 | 131115 | 5:30 a.m. August 03
2008-08-03 | SERC | 1:30 a.m. | Mississippi, Louisiana, Texas | Severe Thunderstorms | N/A | 59500 | 4:15 a.m. August 03
2008-08-04 | RFC | 6:00 p.m. | The ComEd Territory | Severe Weather | N/A | 653000 | 8:00 a.m. August 06
2008-08-05 | RFC | 3:00 a.m. | Northwest Indiana | Severe Storms | 0 | 63000 | 9:50 a.m. August 05
2008-08-09 | SPP | 12:00 p.m. | Texas Panhandle and Eastern New Mexico | Declared Energy Emergency Alert 1/Made Public Appeals | 0 | 0 | 8:46 p.m. August 09
2008-08-15 | WECC | 12:52 p.m. | Part of Seattle's Downtown | Made Public Appeals | 100 | 8000 | 5:00 p.m. August 15
2008-08-16 | TRE | 5:23 a.m. | City of Lubbock | Lightning/Transmission Equipment Damage | 153 | 71823 | 7:30 a.m. August 16
2008-08-16 | PR | 8:14 a.m. | Island of Puerto Rico | Shed Firm Load/Voltage Reduction | 300 | 200000 | 3:00 p.m. August 16
2008-08-18 | PR | 7:22 p.m. | North Part of Island | Shed Firm Load | 225 | 100000 | 6:44 p.m. August 19
2008-08-19 | FRCC | 9:29 a.m. | Florida | Tropical Storm Fay | N/A | 101950 | 10:00 p.m. August 22
2008-08-21 | FRCC | 7:00 p.m. | Alachua, Bay, Brevard, Citrus, Columbia, Dixie, Flagler, Franklin, Gilchrist, Gulf, Hamilton, Hardee, Hernando, Highlands, Jefferson, Lafayette, Lake, Leon, Levy, Madison, Marion, Orange, Osceola, Pasco, Pinellas, Polk, Seminole, Sumter, Suwannee, Taylor, Volusia and Wakulla Counties in Florida | Tropical Storm Fay | N/A | 430000 | 8:00 a.m. August 25
2008-08-22 | RFC | 12:00 p.m. | - | Fuel Supply Emergency-Low Coal Inventory Levels | 0 | 0 | 12:00 p.m. August 23
2008-08-24 | SERC | 4:30 a.m. | Georgia and Alabama | Tropical Storm Fay | 110 | 87390 | 2:00 p.m. August 24
2008-08-31 | SERC | 7:30 a.m. | Plaquemine, Louisiana | Fuel Supply Curtailed | 200 | 0 | 9:00 a.m. September 19
2008-08-31 | SERC | 7:00 p.m. | Louisiana, Mississippi, Arkansas | Hurricane Gustav | N/A | 964000 | 9:00 a.m. September 03
September
2008-09-01 | SERC | 10:30 a.m. | Primarily South and Central Louisiana | Hurricane Gustav | 400 | 150000 | 7:22 p.m. September 13
2008-09-01 | SERC | 11:45 a.m. | Bayou Division and North Lake Division, Louisiana | Hurricane Gustav | N/A | 246092 | 4:00 p.m. September 10
2008-09-06 | SERC | 7:45 a.m. | Eastern North Carolina | Tropical Storm Hanna | N/A | 57000 | 10:30 a.m. September 06
2008-09-06 | SERC | 2:15 p.m. | North East North Carolina and Virginia | Tropical Storm Hanna | 220 | 64463 | 4:06 p.m. September 06
2008-09-08 | WECC | 10:03 p.m. | A.D. Edmonston Pumping Plant | Fuel Supply Deficiency | 300 | 0 | 12:28 a.m. September 09
2008-09-12 | SERC | 5:45 a.m. | Primarily Southeast Texas, Louisiana, and Arkansas | Hurricane Ike | N/A | 705000 | 1:00 p.m. September 14
2008-09-12 | TRE | 6:21 p.m. | Greater Houston-Galveston Metro Area | Hurricane Ike | 8087 | 2142678 | 11:59 p.m. October 01
2008-09-12 | TRE | 6:21 p.m. | Greater Houston Area-Eastern Region of ERCOT | Hurricane Ike | N/A | 2504366 | 11:59 p.m. October 01
2008-09-12 | TRE | 8:00 p.m. | Galveston and Brazoria Counties | Hurricane Ike | 650 | 113247 | 7:00 p.m. September 27
2008-09-13 | SERC | 10:24 a.m. | Southwest Louisiana | Hurricane Ike | 40 | 50000 | 2:40 p.m. September 27
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2008
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
Date/Time
2008-09-13 | TRE | 12:00 p.m. | North, Central and East Texas | Hurricane Ike | N/A | 238392 | 8:00 a.m. September 15
2008-09-13 | SPP | 4:00 p.m. | Texas and Louisana | Hurricane Ike | N/A | 184501 | 7:44 p.m. September 16
2008-09-14 | RFC | 6:30 a.m. | Ohio, Kentucky, Indiana | Tropical Depression Ike | N/A | 875000 | 2:38 p.m. September 14
2008-09-14 | MRO | 7:30 a.m. | Missouri and Illinois | Hurricane Ike | N/A | 107000 | 3:00 p.m. September 18
2008-09-14 | RFC | 10:01 a.m. | City of Owensboro, Kentucky | High Winds | 70 | 18000 | 5:00 p.m. September 21
2008-09-14 | RFC | 11:30 a.m. | State of Kentucky | Tropical Depression Ike | N/A | 375000 | 4:30 p.m. September 14
2008-09-14 | RFC | 2:00 p.m. | Dayton Ohio Area | Hurricane Ike | 1000 | 95000 | 12:00 p.m. September 17
2008-09-14 | RFC | 4:00 p.m. | Northern Indiana, Central and Central Southern Ohio | Wind Storm | N/A | 650000 | 11:00 p.m. September 20
2008-09-14 | RFC | 5:00 p.m. | Western Pennsylvania | Wind Storm | 72 | 124596 | 12:38 p.m. September 19
2008-09-14 | RFC | 5:00 p.m. | Southern, Eastern, and Central Ohio | Wind Storm | 469 | 564728 | 5:11 p.m. September 22
2008-09-14 | RFC | 5:00 p.m. | Northeast Ohio | Wind Storm | 430 | 245164 | 3:20 a.m. September 22
2008-09-14 | RFC | 7:00 p.m. | Allegheny and Beaver Counties in Pennsylvania | Tropical Depression Ike | 600 | 105000 | 11:59 p.m. September 14
2008-09-15 | RFC | 12:37 a.m. | Western Pennsylvania | Tropical Depression Ike | 546 | 160875 | 4:30 p.m. September 19
2008-09-22 | PR | 5:49 p.m. | Island of Puerto Rico | Shed Firm Load | 125 | 43600 | 6:39 a.m. September 22
2008-09-30 | WECC | 2:02 p.m. | Plumas County, California | Electrical System Separation | 30 | 10000 | 2:05 p.m. September 30
October
2008-10-02 | SERC | 2:50 p.m. | Louisiana | Load Shedding | 200 | 0 | 9:50 a.m. October 02
2008-10-25 | NPCC | 11:00 p.m. | Connecticut | Severe Storm | N/A | 52000 | 7:00 a.m. October 27
November
2008-11-07 | WECC | 11:13 a.m. | Goleta and Santa Barbara Areas of Southern California | Load Shedding | 250 | 140000 | 11:54 a.m. November 07
2008-11-07 | WECC | 11:15 a.m. | Southern California | Load Shedding | 430 | 400000 | 11:54 a.m. November 07
2008-11-11 | PR | 8:30 a.m. | Island of Puerto Rico | Shed Firm Load | 250 | 261000 | 12:19 a.m. November 11
2008-11-15 | WECC | 9:39 a.m. | City of Los Angeles | Brush Fire/Shed Firm Load | 211 | 115500 | 10:10 a.m. November 15
December
2008-12-02 | Midwest ISO (RFC | 4:30 a.m. | St. Louis, Missouri | Fire/Load Shedding | 135 | 53000 | 7:00 a.m. December 02
2008-12-09 | RFC | 5:27 p.m. | Central New Jersey | Lines Loss/Transmission | 438 | 156729 | 4:12 a.m. December 10
2008-12-10 | WECC | 5:09 p.m. | Southern Oregon | Equipment Failure/Made Public Appeal | 32 | 3 | 8:29 p.m. December 10
2008-12-11 | SERC | 9:00 a.m. | Southern Louisiana, Southern and Central Mississippi | Snow Storm | N/A | 91300 | 11:59 p.m. December 13
2008-12-11 | NPCC | 6:00 p.m. | Northern Dutchess County and Western Ulster County in the Mid-Hudson Region of New York State | Ice Storm | N/A | 60000 | 12:00 a.m. December 15
2008-12-12 | NPCC | 1:00 a.m. | New England | Ice Storm | N/A | 970000 | 12:00 a.m. December 22
2008-12-12 | NPCC | 2:38 a.m. | Eastern New York | Ice Storm | 200 | 190000 | 1:24 p.m. December 19
2008-12-12 | NPCC | 8:45 a.m. | Southern and Central Maine | Ice Storm | N/A | 169757 | 9:52 a.m. December 14
2008-12-13 | WECC | 3:30 p.m. | Humboldt Area of California | Declared Stage 1 Electric Emergency/Made Public Appeal | 5 | 0 | 9:17 a.m. December 21
2008-12-19 | WECC | 1:02 a.m. | East of Oroville, California | Electrical System Separation | 1 | 638 | 6:17 a.m. December 19
2008-12-19 | RFC | 8:30 a.m. | Indiana, Michigan and Northwest Ohio | Ice Storm | N/A | 140000 | 12:00 p.m. December 22
2008-12-19 | RFC | 9:00 a.m. | Northwest Indiana | Ice Storm | N/A | 50000 | 8:20 a.m. December 20
2008-12-26 | WECC | 11:40 a.m. | Orangevale Area of Sacramento, California | Load Shedding | 110 | 50000 | 3:34 p.m. December 26
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2008
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected [1] | Restoration
Date/Time
2008-12-26 | HI | 6:13 p.m. | Island of Oahu, Hawaii | Lightning | 1060 | 294000 | 5:00 p.m. December 27
2008-12-27 | RFC | 4:00 p.m. | Southeastern Michigan | Wind Storm | N/A | 247847 | 11:30 p.m. January 01
2008-12-28 | RFC | 4:45 a.m. | Michigan Lower Peninsula | Wind Storm | N/A | 210517 | 6:00 p.m. December 31
2008-12-28 | RFC | 11:45 a.m. | Michigan Lower Peninsula | Wind Storm | N/A | 230000 | 11:30 p.m. December 28
2008-12-30 | RFC | 4:02 p.m. | Crawfordsville, Indiana | Shed Firm Load | 41 | 9700 | 4:37 p.m. December 30
[1] Estimated values.
Note: Estimates for 2008 are preliminary.
Source: Form OE-417, "Electric Emergency Incident and Disturbance Report."