## 2009
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2009
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
Date/Time
January
2009-01-05 | TRE | 5:00 a.m. | North and Central Texas | Severe Storm | N/A | 157019 | 6:00 p.m. January 06
2009-01-07 | SERC | 5:00 p.m. | Piedmont of North and South Carolina | High Winds | 300 | 70000 | 8:05 p.m. January 07
2009-01-08 | FRCC | 11:46 p.m. | Florida Keys | Transmission Equipment Failure | 55 | 31000 | 11:25 a.m. January 09
2009-01-17 | RFC | 8:00 a.m. | PJM, Indiana | Fuel Supply Deficiency | N/A | N/A | 8:00 a.m. January 25
2009-01-22 | RFC | 4:00 p.m. | Crawfordsville, Indiana | Shed Load | 50 | 9700 | 5:05 p.m. January 22
2009-01-27 | RFC | 5:00 a.m. | State of Kentucky | Ice Storm | N/A | 383000 | 4:30 p.m. January 29
2009-01-27 | SERC | 5:03 a.m. | Central and Eastern Kentrucky | Ice Storm | 600 | 190000 | 5:15 p.m. January 31
2009-01-27 | SERC | 7:10 a.m. | Western Kentucky and Southern Indiana | Ice Storm | 350 | 3 | 7:30 p.m. February 04
2009-01-27 | SERC | 11:00 a.m. | South Central and Southeast Missouri | Winter Storm | 200 | 62500 | 6:00 p.m. January 30
2009-01-27 | SERC | 1:46 p.m. | Northern Arkansas | Ice Storm | N/A | 111818 | 5:00 p.m. February 03
2009-01-27 | RFC | 3:43 p.m. | CSWS-AEP West | Ice/Snow Storm | N/A | 59402 | 9:00 a.m. January 29
2009-01-27 | SERC | 9:00 p.m. | Northern Arkansas | Ice Storm | 600 | 215700 | 6:00 a.m. January 29
2009-01-27 | SERC | 9:45 p.m. | TVA Service Territory | Ice Storm | 850 | 1 | 10:17 p.m. January 27
2009-01-28 | RFC | 12:10 a.m. | East Central Missouri | Winter Storm | 300 | 1 | 9:20 p.m. January 30
2009-01-28 | RFC | 3:00 a.m. | Illinois, Indiana, Ohio and Kentucky | Winter Storm | N/A | 230300 | 8:03 a.m. February 13
2009-01-28 | RFC | 4:00 a.m. | City of Henderson, Kentucky and Portions of Henderson County, Kentucky | Ice Storm | 21 | 3500 | 5:00 p.m. February 07
2009-01-28 | RFC | 6:00 a.m. | Indiana, Evansville, Metro Area | Ice Storm | 506 | 75000 | 6:00 p.m. February 05
2009-01-28 | RFC | 7:50 a.m. | Southern Indiana | Ice/Snow Storm | N/A | 53700 | 8:03 a.m. February 13
2009-01-28 | SERC | 9:00 a.m. | Northeast Tennessee and Southwest Kentucky | Ice Storm | N/A | 109527 | 8:00 a.m. February 05
2009-01-28 | RFC | 10:00 a.m. | Northern Kentucky and Southwest Ohio | Ice/Snow Storm | N/A | 53600 | 9:20 p.m. January 30
February
2009-02-11 | TRE | 2:30 a.m. | Houston, Texas | High Winds | 350 | 64801 | 12:00 p.m. February 11
2009-02-11 | RFC | 6:00 p.m. | Kentucky, West Virginia and Ohio | Severe Thunderstorms | N/A | 279813 | 5:00 p.m. February 13
2009-02-11 | RFC | 6:18 p.m. | Maryland, Virginia, West Virginia and Pennsylvania | Severe Thunderstorms | N/A | 374644 | 8:10 p.m. February 16
2009-02-11 | RFC | 7:00 p.m. | State of Kentucky | Severe Thunderstorms | N/A | 78000 | 11:00 a.m. February 12
2009-02-11 | RFC | 9:00 p.m. | Northern Kentucky and Southwest Ohio | Severe Thunderstorms | 350 | 63000 | 12:00 p.m. February 12
2009-02-12 | RFC | 2:30 a.m. | Central and Eastern Ohio | High Winds | 168 | 184000 | 6:00 a.m. February 12
2009-02-12 | RFC | 8:00 a.m. | Western and North Eastern Pennsylvania | High Winds | 130 | 132000 | 10:00 p.m. February 15
2009-02-13 | RFC | 2:30 a.m. | Central and Eastern Ohio | High Winds | 168 | 184000 | 3:00 a.m. February 15
2009-02-23 | NPCC | 2:38 a.m. | Southern Central and Western Maine | Ice/Snow Storm | N/A | 131000 | 1:46 p.m. February 24
March
2009-03-01 | WECC | 12:15 a.m. | City of El Paso, Texas, County of El Paso | Transmission Equipment Failure | 250 | 132000 | 3:00 a.m. March 01
2009-03-01 | SERC | 4:00 p.m. | Southern Balancing Area | Severe Weather | 75 | 60000 | 11:25 p.m. March 01
2009-03-01 | SERC | 8:54 p.m. | Duke Energy Carolinas Balance Authority | Ice/Snow Storm | 1000 | 180000 | 4:06 p.m. March 03
2009-03-01 | SERC | 10:00 p.m. | Central Virginia - Spotsylvania County | Winter Storm | 210 | 217000 | 6:00 p.m. March 03
2009-03-03 | RFC | 6:48 a.m. | Southwest Michigan | Transformer Faulted/Unit Tripped | 378 | N/A | 6:05 a.m. April 26
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2009
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
Date/Time
2009-03-03 | REC | 10:00 p.m. | Roanoke, Virginia | Made Public Appeals | 350 | 0 | 8:17 p.m. March 04
2009-03-08 | WECC | 10:16 p.m. | San Francisco Bay Area, California | Unit Shut Down | 150 | - | 11:45 p.m. March 08
April
2009-04-06 | RFC | 1:00 a.m. | Michigan, Lower Peninsula | Winter Storm | 75 | 70793 | 12:00 p.m. April 08
2009-04-10 | SERC | 10:00 p.m. | Alabama and Georgia | Severe Thunderstorms | 162 | 56679 | 2:30 a.m. April 11
2009-04-23 | WECC | 12:00 a.m. | Restricted Hydro Electric Capability | Fuel Supply Deficiency | - | - | Ongoing
2009-04-23 | WECC | 4:25 p.m. | Skagit County, Washington | Transmission Tripped | 244 | 93300 | 12:29 a.m. April 24
2009-04-23 | WECC | 5:54 p.m. | Communities of Elsinore, Hemet, Moreno Valley, Perris, San Jacinto and Temecula in the southeastern area of Riverside County in California | Substation Load Interruption | 512 | 280000 | 7:58 p.m. April 23
2009-04-24 | SERC | 11:09 a.m. | Ruston, Louisiana | Complete Electric System Failure | 32 | 11000 | 11:21 a.m. April 24
2009-04-25 | RFC | 2:30 p.m. | Western Region of Service Territory | High Winds/Rain | N/A | 125000 | 1:00 a.m. April 29
2009-04-27 | TRE | 3:30 p.m. | Greater Houston/Galveston Area | High Winds | 176 | 158000 | 11:30 a.m. April 28
May
2009-05-08 | SERC | 7:30 a.m. | SW Missouri | Severe Thunderstorm | 266 | 83000 | 9:00 a.m. May 08
2009-05-08 | SERC | 1:30 p.m. | Southern Illinois | Severe Thunderstorm | 300 | 68800 | 11:20 p.m. May 14
2009-05-29 | SERC | 9:05 a.m. | Henderson County, Kentucky | Transmission Equipment Failure | 342 | 1 | 7:57 p.m. May 29
June
2009-06-05 | WECC | 1:38 p.m. | East of Fresno California | Electrical System Separation | 1 | 70 | 8:18 p.m. June 05
2009-06-09 | RFC | 5:25 p.m. | Central Maryland | Severe Thunderstorms | 60 | 85091 | 5:00 a.m. June 11
2009-06-10 | TRE | 6:00 p.m. | North and Central Texas | Severe Storms | N/A | 800000 | 10:00 a.m. June 14
2009-06-12 | SERC | 4:37 p.m. | Chattanooga, Tennessee | Severe Storm | 860 | 136000 | 6:53 p.m. June 12
2009-06-12 | SERC | 5:45 p.m. | Arkansas, North Mississippi | Severe Thunderstorms | N/A | 81645 | 11:59 p.m. June 15
2009-06-12 | SERC | 10:00 p.m. | Georgia | Severe Thunderstorm | 290 | 102000 | 6:00 p.m. June 13
2009-06-16 | WECC | 11:00 p.m. | A.D. Edmonston Pumping Plant | Fuel Supply Deficiency | 300 | 0 | 2:00 a.m. June 17
2009-06-19 | RFC | 12:01 a.m. | Michigan Lower Peninsula | Severe Storm | 75 | 99000 | 11:00 p.m. June 21
2009-06-19 | SERC | 1:00 p.m. | The Entire ComEd Service Territory | Severe Storm | N/A | 245000 | 11:59 p.m. June 19
2009-06-24 | SERC | 1:30 p.m. | Southwest Louisiana | Made Public Appeals | N/A | N/A | 10:00 p.m. June 24
2009-06-25 | TRE | 3:16 p.m. | ERCOT Region | Made Public Appeals | N/A | N/A | 7:00 p.m. June 25
2009-06-25 | RFC | 3:30 p.m. | Western Region of Service Territory | High Winds/Rain | N/A | 118000 | 8:00 p.m. June 28
2009-06-26 | RFC | 1:00 a.m. | Southwest Ohio, Northern Kentudky, Central and Southern Indiana | Severe Thunderstorms | 327 | 85000 | 9:00 a.m. June 27
2009-06-26 | NPCC | 5:00 p.m. | Central Connecticut | Severe Thunderstorms | N/A | 50752 | 9:00 a.m. June 29
July
2009-07-02 | NPCC | 10:44 p.m. | Northern Maine | Electrical System Separation | 0 | 0 | 1:25 a.m. July 03
2009-07-07 | TRE | 3:30 p.m. | San Antonio, Texas | Made Public Appeals | N/A | N/A | 7:00 p.m. July 07
2009-07-08 | TRE | 1:30 p.m. | ERCOT Region | Made Public Appeals | N/A | N/A | 7:00 p.m. July 08
2009-07-14 | SPP | 1:00 p.m. | AEP SWEPCO/Louisiana Area | Made Public Appeals | N/A | N/A | 6:00 p.m. July 14
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2009
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected [1] | Restoration
Date/Time
2009-07-15 | SPP | 1:00 p.m. | AEP SWEPCO/Louisiana Area | Made Public Appeals | N/A | N/A | 6:00 p.m. July 15
2009-07-16 | SPP | 1:00 p.m. | AEP SWEPCO/Louisiana Area | Made Public Appeals | N/A | N/A | 6:00 p.m. July 16
2009-07-18 | TRE | 7:00 p.m. | Houston/Galveston Area | Thunderstorms | 51 | 73000 | 9:00 p.m. July 19
2009-07-20 | WECC | 9:50 p.m. | Metro Denver (Jefferson, Adams, and Arapahoe Counties) | Severe Thunderstorm | 150 | 86058 | 7:00 p.m. July 22
2009-07-21 | WECC | 5:34 a.m. | San Francisco Bay Area, California | Unit Tripped | 136 | 1 | 8:43 a.m. July 21
2009-07-27 | SERC | 5:05 a.m. | Chattanooga, Tennessee | Failure of Computer Hardware Used for Monitoring | N/A | N/A | 5:47 a.m. July 27
2009-07-28 | WECC | 8:18 p.m. | Salt Lake City Utah and Northern Utah | Loss of Part of Substation | 316 | N/A | 8:33 p.m. July 28
August
2009-08-02 | RFC | 2:17 a.m. | Chester, Montgomery, Delaware, Philadelphia and Bucks Counties, Pennsyvania | Highwinds | N/A | 70264 | 1:09 p.m. August 03
2009-08-04 | RFC | 1:45 p.m. | Northern Kentucky, Southwest Ohio and Central and South Indiana | Thunderstorms | 50 | 63700 | 9:00 p.m. August 08
2009-08-05 | TRE | 3:00 p.m. | ERCOT Region | Made Public Appeals | N/A | N/A | 7:00 p.m. August 05
2009-08-07 | RFC | 11:00 p.m. | Western Region of Service Territory | High Winds and Rain | N/A | 137000 | 10:00 p.m. August 11
2009-08-09 | RFC | 7:31 p.m. | Michigan, Lower Peninsula | Severe Thunderstorms | N/A | 58156 | 9:59 a.m. August 10
2009-08-12 | TRE | 6:25 p.m. | South Houston Service Area | Thunderstorms | 491 | 73000 | 10:00 a.m. August 12
2009-08-21 | TRE | 7:00 p.m. | Houston Metropolitan Service Area | Thunderstorms | 544 | 80000 | 8:00 a.m. August 22
2009-08-29 | MRO | 11:00 a.m. | Western South Dakota | Electrical System Separation | 373 | 18 | 2:01 p.m. August 29
2009-08-29 | RFC | 10:54 p.m. | Western South Dakota | Electrical System Separation | 84 | 0 | 11:53 p.m. August 29
2009-08-31 | WECC | 10:31 a.m. | City of Los Angeles, California | Made Public Appeals | N/A | N/A | 12:00 a.m. August 31
October
2009-10-07 | RFC | 5:45 a.m. | Southeast Michigan | Severe Storms | N/A | 75000 | 11:00 p.m. October 09
2009-10-09 | WECC | 6:30 p.m. | Central Valley, CA (Bakersfield, CA) | Transmission System Interruption | 180 | N/A | 7:10 p.m. October 09
2009-10-09 | SERC | 10:45 p.m. | Arkansas and North Louisiana | Winter Storm | N/A | 56000 | 4:00 p.m. October 11
2009-10-13 | WECC | 12:48 p.m. | Southeastern Wyoming | Ice | 101 | 35500 | 2:34 p.m. October 13
2009-10-13 | WECC | 3:45 p.m. | Sacramento County | High Winds | 90 | 94000 | 5:50 p.m. October 13
2009-10-13 | WECC | 4:00 p.m. | Northern California | High Winds and Rain | 350 | 859554 | 10:30 p.m. October 13
November
2009-11-12 | SERC | 6:45 p.m. | Southeastern Virginia, Northeastern North Carolina | Tropical Storm Ida | 400 | 335000 | 4:25 a.m. November 14
2009-11-18 | WECC | 6:15 a.m. | Central Valley, CA | Switching Failure | 630 | N/A | 10:00 a.m. November 18
December
2009-12-07 | WECC | 10:00 p.m. | California | Forced Outage Equipment Failure | 400 | N/A | 4:00 a.m. December 08
2009-12-08 | WECC | 1:00 a.m. | Arizona | Severe Weather | N/A | 140000 | 11:00 a.m. December 10
2009-12-08 | WECC | 6:34 a.m. | California | Load Shed/Made Public Appeals | N/A | N/A | 12:00 p.m. December 08
2009-12-09 | RFC | 1:37 p.m. | Ohio | Severe Weather | N/A | 48102 | 6:30 a.m. December 10
2009-12-10 | RFC | 5:45 p.m. | Michigan | Severe Weather | N/A | 65562 | 8:00 a.m. December 12
2009-12-18 | RFC | 8:00 p.m. | West Virginia, Kentucky, Ohio | Severe Weather | N/A | 403913 | 9:30 p.m. December 25
2009-12-18 | SERC | 10:55 p.m. | Western North Carolina | Severe Weather | N/A | 47000 | 11:15 p.m. December 19
[1] Estimated values.
Note: Estimates for 2009 are preliminary.
Source: Form OE-417, "Electric Emergency Incident and Disturbance Report."