## 2010
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2010
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
January
2010-01-06 | SERC | 6:00 p.m. | Southwest Louisiana | Made Public Appeals | N/A | N/A | 6:00 p.m. January 08
2010-01-11 | FRCC/SERC | 3:45 a.m. | Northern and Central Florida | Interruptible Load Shed/Made Public Appeals | N/A | N/A | 9:57 a.m. January 11
2010-01-18 | WECC | 11:30 a.m. | Northern and Central California | Severe Storm | 290 | 1700000 | 8:00 a.m. January 28
2010-01-19 | WECC | 7:30 a.m. | San Francisco | Severe Storm | 300 | 30000 | 12:24 p.m. January 19
2010-01-19 | WECC | 2:30 p.m. | San Diego and Orange Counties | Severe Storm | 2650 | 50000 | 3:00 p.m. January 20
2010-01-20 | WECC | 1:00 p.m. | City of Los Angeles, California | Severe Storm | N/A | 147223 | 6:10 p.m. January 24
2010-01-28 | SPP | 12:00 p.m. | Oklahoma | Ice Storm | N/A | 68705 | 12:00 p.m. February 02
February
2010-02-01 | SPP | 2:32 p.m. | Oklahoma | Ice Storm/Electrical System Separation | 30 | 0 | 5:00 p.m. February 01
2010-02-05 | RFC | 3:00 p.m. | Southern NJ | Winter Storm | N/A | 221000 | 4:00 p.m. February 13
2010-02-05 | SERC | 6:48 p.m. | North and South Carolina | Winter Storm | 500 | 74000 | 5:00 p.m. February 07
2010-02-05 | RFC | 7:00 p.m. | District of Columbia, Prince Georges and Montgomery Co. MD | Winter Storm | N/A | 97651 | 3:46 p.m. February 12
2010-02-05 | RFC | 10:30 p.m. | Southwestern Pennsylvania | Winter Storm | N/A | 57000 | 12:00 p.m. February 12
2010-02-05 | RFC | 11:30 p.m. | Indiana, Ohio, W. Virginia and Virginia | Winter Storm | N/A | 102225 | 2:38 a.m. February 07
2010-02-06 | SERC | 2:30 a.m. | Virginia, North Carolina | Winter Storm | 600 | 104736 | 7:00 a.m. February 07
2010-02-06 | RFC | 8:00 a.m. | Delmarva Peninsula | Winter Storm | N/A | 58491 | 9:00 a.m. February 06
2010-02-09 | RFC | 6:00 p.m. | Southeastern Pennsylvania | Winter Storm | N/A | 223000 | 4:00 p.m. February 14
2010-02-11 | TRE | 12:00 p.m. | Dallas/Fort Worth and East Texas | Winter Storm | N/A | 500000 | 9:00 p.m. February 15
2010-02-12 | SPP | 5:00 a.m. | East Texas, Western Arkansas, Northern Lousiania | Winter Storm | N/A | 52999 | 5:00 p.m. February 12
2010-02-14 | RFC | 10:00 a.m. | Western Pennsylvania nd Northeast Central WV | Winter Storm | 900 | 190000 | 12:00 p.m. February 14
2010-02-19 | WECC | 8:30 p.m. | San Joaquin Field Division/Bakersfield, CA | Firm System Load Shed | 1000 | N/A | 4:01 a.m. February 20
2010-02-23 | NPCC | 10:00 p.m. | Upstate New York | Winter Storm | N/A | 150000 | 4:00 p.m. February 25
2010-02-25 | NPCC | 12:01 a.m. | Southeastern New York, Northern New Jersey | Winter Storm | N/A | 65000 | 9:00 p.m. February 26
2010-02-25 | NPCC | 5:00 p.m. | New York City | Winter Storm | N/A | 55000 | 7:00 p.m. March 02
2010-02-25 | NPCC | 11:53 p.m. | Southern Maine and New Hampshire | Winter Storm | 510 | 509606 | 4:40 p.m. March 01
March
2010-03-13 | RFC | 1:00 a.m. | Southeasten Pennsylvania | High Winds and rain | N/A | 177528 | 6:40 p.m. March 16
2010-03-13 | NPCC | 12:00 p.m. | Connecticut | High Winds and Rain | 50 | 50246 | 8:05 p.m. March 15
2010-03-13 | NPCC | 3:00 p.m. | Long Island | High Winds and Rain | N/A | 153000 | 4:00 p.m. March 17
2010-03-13 | RFC | 4:00 p.m. | Central New Jersey and Northern New Jersey | High Winds and Flooding | N/A | 180000 | 12:00 a.m. March 16
2010-03-13 | RFC | 6:00 p.m. | Southern, Central and Northern New Jersey | High Winds and Rain | 100 | 360000 | 12:59 p.m. March 20
2010-03-13 | NPCC | 6:00 p.m. | New York City and Westchester County | High Winds and Rain | N/A | 173000 | 9:00 a.m. March 20
2010-03-31 | WECC | 11:59 p.m. | San Diego and Orange Counties | Shed Firm Load | 324 | 290000 | 12:55 a.m. April 01
2010-03-31 | WECC | 11:59 p.m. | San Diego | Shed Firm Load | 324 | N/A | 12:38 a.m. April 01
April
2010-04-16 | RFC | 5:15 p.m. | Southwestern Pennsylvania | Severe Thunderstorms | 15 | 120000 | 5:00 p.m. April 18
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2010
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
2010-04-21 | SERC | 3:05 p.m. | Iberville, Parish, Louisiana | Generator Tripped | N/A | N/A | 8:00 p.m. April 21
2010-04-27 | SERC | 2:55 p.m. | Rocky Mount, NC | Transmission System Interruption | N/A | 29376 | 2:55 p.m. April 27
May
2010-05-02 | SERC | 2:40 p.m. | Tennessee and Mississippi | Thunderstorms | N/A | 50500 | 7:30 p.m. May 09
2010-05-18 | WECC | 8:15 a.m. | Central California | Breakers Tripped | 318 | N/A | 10:46 p.m. May 18
2010-05-26 | RFC, SERC | 11:45 a.m. | Maryland, Pennsylvania, West Virginia, Virginia | Made Public Appeal - System Drill | N/A | N/A | 3:00 p.m. May 26
June
2010-06-01 | RFC | 10:03 p.m. | Southwestern Indiana | Firm Load Shed | 500 | 1 | 12:30 a.m. June 18
2010-06-02 | TRE | 8:18 p.m. | San Antonio, TX | Severe Weather | N/A | 126000 | 8:00 a.m. June 04
2010-06-06 | WECC | 4:45 a.m. | Northern California | Electric System Separation | 3 | 2650 | 5:35 a.m. June 06
2010-06-07 | WECC | 6:29 p.m. | Denver Metropolitan Area | Firm Load Shed | 300 | 31000 | 1:00 a.m. June 08
2010-06-08 | TRE | 11:00 a.m. | Southeastern Texas | Thunderstorms | N/A | 79741 | 5:00 p.m. June 08
2010-06-09 | SERC | 2:18 p.m. | Edenton, NC | Transmission System Interruption | N/A | 4196 | 3:00 p.m. June 09
2010-06-16 | NPCC | 11:11 a.m. | New York (Rockland and Orange Counties) | Voltage Reduction (System Test) | N/A | N/A | 11:32 a.m. June 16
2010-06-17 | SPP | 8:30 a.m. | Morgan City, LA | Made Public Appeal | N/A | N/A | 5:47 p.m. June 17
2010-06-17 | SERC | 9:30 a.m. | Southern Louisiana | Made Public Appeal | N/A | N/A | 5:17 p.m. June 17
2010-06-17 | SERC | 9:30 a.m. | Southern Louisiana | Made Public Appeal | N/A | N/A | 4:40 p.m. June 17
2010-06-17 | SPP | 9:30 a.m. | Southwestern Louisiana | Made Public Appeal | N/A | N/A | 4:40 p.m. June 17
2010-06-17 | MRO | 10:49 a.m. | Eastern Montana | Electrical System Separation | N/A | N/A | 11:02 a.m. June 17
2010-06-18 | RFC | 3:30 p.m. | Northwest Indiana | Thunderstorms | N/A | 94345 | 12:30 a.m. June 20
2010-06-18 | RFC | 4:00 p.m. | Chicago, IL | Severe Weather | N/A | 400000 | 1:00 p.m. June 20
2010-06-18 | RFC | 7:00 p.m. | Southern Portion of Lower Michigan | Thunderstorms | N/A | 100000 | 5:00 a.m. June 19
2010-06-18 | RFC | 8:00 p.m. | Indiana, Michigan | Severe Weather | N/A | 79000 | 10:45 a.m. June 21
2010-06-18 | RFC | 8:00 p.m. | Detroit, MI | Severe Weather | N/A | 150000 | 7:30 p.m. June 22
2010-06-21 | RFC | 1:48 p.m. | Cincinnati, OH | Thunderstorms | 400 | 50636 | 8:31 p.m. June 22
2010-06-22 | SERC | 3:34 p.m. | West/Central Arkansas | Made Public Appeal/Transmission Equipment Failure | 84 | 25159 | 7:00 p.m. June 22
2010-06-23 | RFC | 5:00 p.m. | Chicago, IL | Severe Weather | N/A | 300000 | 1:40 p.m. June 25
2010-06-23 | RFC | 5:48 p.m. | Northwest Indiana | Thunderstorms | N/A | 53000 | 2:21 a.m. June 24
2010-06-24 | RFC | 3:00 p.m. | Southwestern New Jersey | Thunderstorms | N/A | 150000 | 12:00 p.m. June 29
2010-06-24 | RFC | 3:30 p.m. | Southeastern Pennsylvania | Thunderstorms | N/A | 355000 | 11:59 p.m. June 29
2010-06-25 | WECC | 11:36 p.m. | Northern California | Electrical System Separation | N/A | N/A | 1:38 a.m. June 26
July
2010-07-06 | RFC | 3:47 a.m. | Newark, DE | Transformer Outage | 95 | 18400 | 4:37 a.m. July 06
2010-07-07 | RFC | 4:13 p.m. | York, South Central Pennsylvania | Loss of Transmission Equipment | N/A | 43903 | 10:29 p.m. July 07
2010-07-15 | RFC | 7:00 p.m. | Southeastern Michigan | Severe Weather | 540 | 127534 | 11:30 p.m. July 19
2010-07-17 | MRO | 8:30 p.m. | Minnesota | Strong Winds, Tornadoes | N/A | 63000 | 10:00 p.m. July 19
2010-07-21 | NPCC | 6:44 p.m. | Connecticut | Thunderstorms | N/A | 50100 | 8:00 p.m. July 21
2010-07-23 | WECC | 10:00 a.m. | Northern Utah | Made Public Appeals | 2011-06-08 | N/A | 11:55 p.m. July 24
2010-07-23 | RFC | 7:30 p.m. | Southeastern Michigan | Severe Weather | 400 | 82000 | 6:30 p.m. July 26
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2010
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected 1 | Restoration
2010-07-25 | RFC | 3:10 p.m. | Washington, DC Region | Severe Weather | N/A | 297700 | 11:30 p.m. July 30
2010-07-25 | RFC | 3:20 p.m. | Central Maryland | Severe Weather | 480 | 124000 | 6:00 p.m. July 27
2010-07-25 | SERC | 4:11 p.m. | Northern Virginia | Severe Weather | 900-1000 | 81000 | 8:06 p.m. July 25
2010-07-29 | SERC | 5:43 p.m. | Virginia | Thunderstorms | N/A | 55000 | 8:07 p.m. July 29
2010-07-29 | WECC | 6:39 p.m. | Southern California | Shed Interruptible Load, Wildfire | 522 | N/A | 7:26 p.m. July 29
2010-07-29 | WECC | 6:39 p.m. | Southern California | Shed Interruptible Load, Wildfire | 522 | N/A | 7:26 p.m. July 29
August
2010-08-02 | WECC | 12:00 p.m. | Central California | Fuel Supply Deficiency (Hydro) | N/A | N/A | 11:00 p.m. August 02
2010-08-02 | SERC | 12:45 p.m. | Southern Louisiana | Made Public Appeals | N/A | N/A | 11:00 a.m. August 04
2010-08-02 | SERC | 12:45 p.m. | Southern Louisiana | Made Public Appeals | N/A | N/A | 11:00 a.m. August 04
2010-08-02 | SERC | 12:45 p.m. | Southwestern Louisiana | Made Public Appeals | N/A | N/A | 11:00 a.m. August 04
2010-08-02 | SPP | 12:45 p.m. | Southern Louisiana | Made Public Appeals | N/A | N/A | 11:00 a.m. August 04
2010-08-04 | SPP | 12:00 p.m. | Northern Texas, Eastern New Mexico | Made Public Appeals | N/A | N/A | 10:00 p.m. August 04
2010-08-04 | RFC | 4:45 p.m. | Western Pennsylvania, Northwestern and Central West Virginia | Thunderstorms | 60 | 11186 | 12:00 a.m. August 07
2010-08-04 | RFC | 5:00 p.m. | Ohio, West Virginia, Kentucky | Severe Weather | N/A | 37000 | 4:00 a.m. August 06
2010-08-05 | RFC | 3:30 p.m. | District of Columbia, Maryland | Thunderstorms | N/A | 76729 | 10:00 p.m. August 05
2010-08-05 | RFC | 3:54 p.m. | Northern Virginia | Thunderstorms | N/A | 145157 | 12:00 a.m. August 08
2010-08-09 | RFC | 12:00 p.m. | Upstate New York | Fuel Supply Defiency | N/A | N/A | 12:00 p.m. August 16
2010-08-11 | RFC | 3:21 p.m. | Ohio | Severe Weather | N/A | 57000 | 12:12 p.m. August 11
2010-08-12 | RFC | 6:45 a.m. | District of Columbia, Maryland | Severe Weather | N/A | 101003 | 9:00 p.m. August 12
2010-08-12 | SPP | 8:21 a.m. | Central Nebraska | Made Public Appeals | 65 | N/A | 11:00 a.m. August 12
2010-08-12 | MRO | 3:42 p.m. | City of Oshkosh, Wisconsin | Made Public Appeals | 30 | 7600 | 10:10 p.m. August 12
2010-08-19 | RFC | 6:00 p.m. | Southeastern Michigan | Severe Weather | 340 | 80000 | 3:30 p.m. August 23
2010-08-23 | TRE | 5:50 p.m. | Houston, Texas | Severe Weather | 746 | 81586 | 9:30 a.m. August 24
September
2010-09-01 | WECC | 10:20 a.m. | Pittsburg (Bay Area), California | Electrical System Separation (Islanding) | 31 | 15000 | 12:44 p.m. September 01
2010-09-07 | TRE | 2:02 p.m. | San Antonio, Texas | Tropical Storm | N/A | 340350 | 1:27 a.m. September 08
2010-09-20 | SERC | 5:00 p.m. | King George County, Virginia | Low Flying Helicopter | N/A | N/A | 5:30 p.m. September 20
2010-09-21 | RFC | 9:31 p.m. | Central and Southern Michigan | Thunderstorms | N/A | 138000 | 2:30 p.m. September 22
2010-09-22 | WECC | 6:12 a.m. | Bakersfield, California | Firm Load Shed | 526 | N/A | 11:00 p.m. September 22
2010-09-22 | RFC | 4:08 p.m. | City of Pittsburgh, Pennsylvania | Thunderstorms | 156 | 52000 | 12:00 a.m. September 26
2010-09-22 | RFC | 5:38 p.m. | Western Pennsylvania | Thunderstorms | 389 | 82861 | 11:30 p.m. September 24
2010-09-27 | WECC | 3:15 p.m. | Central and Southern California | Interruptible Load Shed | 595 | N/A | 6:12 p.m. September 27
October
2010-10-05 | WECC | 5:45 a.m. | City of Los Angeles, California | Rain and High Winds | N/A | 73514 | 6:00a.m. October 07
2010-10-26 | RFC | 9:00 a.m. | Northern Illinois | Thunderstorms | N/A | 192106 | 11:00 a.m. October 28
2010-10-26 | MRO | 8:00 p.m. | Minnesota | High Winds | N/A | 70000 | 10:00 p.m. October 28
2010-10-27 | MRO | 4:00 a.m. | Northeast and North Central Wisconsin | High Winds | N/A | 63000 | 12:00 p.m. October 27
Table B.2. Major Disturbances and Unusual Occurrences, Year-to-Date through December 2010
Date | NERC Region | Time | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected [1] | Restoration
2010-10-27 | RFC | 8:00 a.m. | Michigan's Northerly Lower Peninsula | High Winds | 240 | 285000 | 7:00 a.m. October 29
2010-10-27 | RFC | 5:00 p.m. | Northern Illinois | High Winds | N/A | 127000 | 4:00 a.m. October 29
2010-10-27 | WECC | 5:16 p.m. | Northern California | Electrical System Separation-Islanding | 16 | 2674 | 5:27 p.m. October 27
2010-10-31 | WECC | 10:26 p.m. | Bakersfield, California | Firm System Load Loss | 500 | N/A | 1:45 a.m. November 01
November
2010-11-04 | WECC | 9:46 a.m. | Rock Springs, Wyoming | Transmission Equipment Failure/Interruptible Load Shed | N/A | N/A | 10:47 a.m. November 04
2010-11-06 | WECC | 3:53 p.m. | Northern California | Electrical System Separation - Islanding | 20 | 4 | 6:08 p.m. November 06
2010-11-08 | NPCC | 6:47 a.m. | Maine | Snow and High Winds | N/A | 60863 | 6:00 p.m. November 08
2010-11-13 | MRO | 3:00 p.m. | Minnesota | Winter Storm | N/A | 60000 | 10:00 p.m. November 14
2010-11-15 | WECC | 11:00 p.m. | Puget Sound Region | High Winds | 391 | 149256 | 2:14 a.m. November 16
2010-11-21 | WECC | 1:39 a.m. | Northern and Central California | Winter Storm | 75 | 60000 | 4:46 p.m. November 24
2010-11-22 | WECC | 11:00 p.m. | Puget Sound Region, Washington | Winter Storm | 420 | 123535 | 8:00 p.m. November 24
2010-11-23 | WECC | 2:01 p.m. | Northern California | Electrical System Separation - Islanding | 22 | 7077 | 6:12 p.m. November 23
December
2010-12-03 | WECC | 9:32 p.m. | California | Electrical System Separation - Islanding | 22 | 7077 | 2:00 a.m. December 04
2010-12-12 | RFC | 4:30 p.m. | Southeastern Michigan | Severe Weather | 210 | 60175 | 2:00 p.m. December 15
2010-12-14 | WECC | 7:20 a.m. | California | Electrical System Separation - Islanding | 9 | 6635 | 7:25 a.m. December 14
2010-12-14 | WECC | 7:36 a.m. | Southern California | Transmission Equipment/Firm System Load | 464 | N/A | 9:00 a.m. December 15
2010-12-18 | WECC | 5:00 a.m. | Redmond, Washington | Severe Weather | 184 | 92090 | 10:00 p.m. December 19
2010-12-26 | SERC | 8:15 a.m. | Carolina | Severe Weather | N/A | 42000 | 4:15 p.m. December 26
2010-12-30 | RFC | 2:00 p.m. | New York | Fuel Supply Deficiency | 300 | N/A | 6:00 a.m. January 12
[1] Estimated values.
Note: Estimates for 2010 are preliminary.
Source: Form OE-417, "Electric Emergency Incident and Disturbance Report."