## 2011
OE-417 Electric Emergency and Disturbance (OE-417) Events, 20111
Date Event Began | Time Event Began | Date of Restoration | Time of Restoration | Area Affected | NERC Region | Event Type | Demand Loss (MW) | Number of Customers Affected
January
2011-01-11 | 23:08 | 2011-01-11 | 23:08 | Athens, New York | NPCC | Electrical Fault at Generator | 0 | 0
2011-01-12 | 6:00 | 2011-01-12 | 14:00 | Massachusetts | NPCC | Winter Storm | N/A | 80000
2011-01-13 | 7:21 | 2011-01-13 | 8:13 | North Florida | FRCC | Firm System Load Shed | 150 | 20900
2011-01-18 | 14:00 | 2011-01-18 | 14:00 | Whitman, Auburn St Substation, Massachusetts | NPCC | Vandalism | 0 | 0
2011-01-23 | 7:00 | 2011-01-23 | 13:00 | Franklin County, Idaho | WECC | Vandalism | 0 | 0
2011-01-24 | 13:20 | 2011-01-24 | 13:30 | Newman Power Plant, Texas | WECC | Suspicious Activity | 0 | 0
2011-01-25 | 3:23 | 2011-01-25 | 11:00 | Newark, Delaware | RFC | Vandalism | 0 | 0
2011-01-26 | 9:25 | 2011-01-27 | 17:00 | Carson City, Nevada | WECC | Suspected Telecommunications Attack | 0 | 0
2011-01-26 | 9:33 | 2011-01-27 | 15:03 | Michigan | RFC | Vandalism | 0 | 0
2011-01-26 | 17:00 | 2011-01-31 | 8:00 | Montgomery and Prince George's County, Maryland and District of Columbia | RFC | Winter Storm | N/A | 210000
2011-01-26 | 18:28 | 2011-01-29 | 17:00 | Maryland | RFC | Winter Storm | N/A | 234326
2011-01-26 | 19:43 | 2011-01-27 | 18:18 | Northern Virginia | SERC | Winter Storm | 600 | 150084
2011-01-27 | 9:30 | 2011-01-27 | 9:30 | Hockessin, Delaware | RFC | Vandalism | 0 | 0
2011-01-27 | 17:00 | 2011-01-30 | 5:00 | Central New York | NPCC | Fuel Supply Deficiency (Coal) | 108 | N/A
2011-01-31 | 22:00 | 2011-02-03 | 12:00 | Southwestern Ohio and Indiana | RFC | Ice Storm | 996 | 272880
February
2011-02-01 | 15:00 | 2011-02-03 | 12:00 | Indiana, Ohio | RFC | Winter Storm | UNK | 158013
2011-02-01 | 21:00 | 2011-02-02 | 14:00 | Northern Illinois | RFC | Winter Storm | UNK | 190000
2011-02-02 | 3:00 | 2011-02-04 | 23:59 | Philadelphia area, Pennsylvania | RFC | Winter Storm | UNK | 213000
2011-02-02 | 5:43 | 2011-02-03 | 10:00 | Texas | TRE | Generation Inadequacy/Load Shed | 4000 | 1069730
2011-02-02 | 6:22 | 2011-02-02 | 9:57 | Central Arizona | WECC | Generation Inadequacy/Load Shed | 3963 | 69000
2011-02-02 | 7:24 | 2011-02-02 | 22:23 | Dona Ana and El Paso Counties, Texas and Hudspeth County, New Mexico | WECC | Generation Inadequacy/Load Shed | 280 | 178000
2011-02-02 | 17:00 | 2011-02-03 | 22:00 | Texas Panhandle, Southeastern New Mexico | SPP | Fuel Supply Deficiency (Natural Gas) | UNK | UNK
2011-02-03 | 15:00 | 2011-02-04 | 12:00 | San Diego area, California | WECC | Fuel Supply Deficiency (Natural Gas) | N/A | UNK
2011-02-03 | 14:30 | 2011-02-03 | 14:30 | Bowie, Maryland | RFC | Suspected Cyber Attack | N/A | 0
2011-02-03 | 22:04 | 2011-02-04 | 12:32 | Texas | TRE | Generation Inadequacy/Load Shed | 400 | 86013
2011-02-09 | 3:45 | 2011-02-09 | 9:12 | Western Houston, Texas | TRE | Winter Storm | 399 | 60000
2011-02-09 | 14:54 | 2011-02-09 | 17:00 | University Place, Washington | WECC | Vandalism | 0 | 0
2011-02-09 | 16:30 | 2011-02-10 | 12:33 | Texas | TRE | Cold Weather Event | N/A | N/A
2011-02-10 | 13:00 | 2011-02-10 | 13:00 | LaGrande, Washington | WECC | Vandalism | 0 | 0
2011-02-17 | 1:25 | 2011-02-19 | 10:13 | Northern and Central California | WECC | Major Storm | 91 | 80000
2011-02-17 | 13:00 | 2011-02-23 | 16:53 | Roseville, California | WECC | Suspected Cyber Attack | 0 | 0
2011-02-19 | 12:30 | 2011-02-20 | 4:00 | Philadelphia area, Pennsylvania | RFC | Major Storm | UNK | 118000
2011-02-19 | 16:34 | 2011-02-19 | 16:34 | Harrington, Delaware | RFC | Vandalism | 0 | 0
2011-02-20 | 16:00 | 2011-02-23 | 16:00 | Southern Lower Peninsula, Michigan | RFC | Winter Storm | 262 | 160000
2011-02-24 | 16:51 | 2011-02-24 | 16:54 | Arkansas | SPP | Electrical System Separation (Islanding) | 4 | UNK
2011-02-25 | 15:20 | 2011-02-25 | 18:00 | Virginia | SERC | Severe Weather | UNK | 50000
2011-02-25 | 15:23 | 2011-02-27 | 18:00 | Maryland | RFC | Severe Weather | UNK | 93000
2011-02-25 | 8:00 | 2011-02-28 | 17:30 | Northern and Central California | WECC | Winter Storm | 91 | 80000
2011-02-25 | 10:30 | 2011-02-25 | 10:45 | Salt Lake City, Utah | WECC | Vandalism | 0 | 0
March
2011-03-01 | 8:00 | 2011-03-05 | 9:30 | Western New York | NPCC | Fuel Supply Deficiency (Coal) | 675 | UNK
2011-03-06 | 2:54 | 2011-03-08 | 8:00 | Salt Lake City Region, Utah | WECC | Vandalism | UNK | 0
2011-03-08 | 8:00 | 2001-03-18 | 9:00 | Western New York | NPCC | Fuel Supply Deficiency (Coal) | 676 | UNK
2011-03-10 | 12:03 | 2011-03-11 | 6:00 | Texas | TRE | Suspected Physical Attack | N/A | N/A
2011-03-11 | 7:02 | 2011-03-11 | 9:15 | Humboldt and Eureka, California | WECC | Generation Inadequacy/Load Shed | 15 | 6800
2011-03-13 | 14:20 | 2011-03-14 | 15:46 | Oregon | WECC | Severe Weather | UNK | 9000
2011-03-14 | 7:30 | 2011-03-14 | 16:55 | Baltimore, Maryland | RFC | Suspected Cyber Attack | N/A | N/A
2011-03-15 | 18:00 | 2011-03-15 | 19:14 | The Woodlands, Texas | TRE | Suspected Physical Attack | N/A | N/A
2011-03-17 | 7:40 | 2011-03-17 | 11:00 | Deerfield, New Hampshire | NPCC | Vandalism | N/A | N/A
2011-03-18 | 9:54 | 2011-03-18 | 15:34 | Greene County, Ohio | RFC | Vandalism | N/A | N/A
2011-03-19 | 23:56 | 2011-03-24 | 19:10 | Northern and Central California | WECC | Major Storm | 91 | 128000
2011-03-20 | 9:44 | 2011-03-21 | 10:00 | Los Angeles, California | WECC | Major Storm | UNK | 79000
2011-03-21 | 12:35 | 2011-03-21 | 14:45 | Southern California | WECC | Major Storm | 150 | 54332
2011-03-21 | 0:57 | 2011-03-21 | 2:29 | Deerfield, New Hampshire | NPCC | Vandalism | N/A | N/A
2011-03-23 | 18:30 | 2011-03-24 | 4:55 | Indiana. Kentucky, Michigan, Ohio, Tennessee, Virginia, West Virginia | RFC | Major Storm | UNK | 60596
2011-03-27 | 13:27 | 2011-03-27 | 17:00 | Sonoma and Central Valley, California | WECC | Transmission Level Outage | 295 | 165000
2011-03-31 | 14:30 | 2011-04-01 | 23:59 | Central and Western Florida | FRCC | Severe Weather | UNK | 50000
2011-03-31 | 11:30 | 2011-03-31 | 20:30 | Greater Tampa Bay, Florida | FRCC | Severe Weather | 206 | 87000
April
2011-04-03 | 20:23 | 2011-04-05 | 15:00 | Unknown | SERC | Suspected Cyber Attack | 0 | 0
2011-04-04 | 11:47 | 2011-04-08 | 0:01 | Memphis, Tennessee | SERC | Severe Weather | 359 | 63000
2011-04-04 | 13:00 | 2011-04-05 | 0:00 | Shelby County, Tennessee | SERC | Severe Weather | 300 | 63000
2011-04-04 | 14:00 | 2011-04-08 | 0:01 | Davidson County, Tennessee | SERC | Severe Weather | 300 | 73000
2011-04-04 | 19:00 | 2011-04-05 | 20:00 | Southeast Arkansas, Southeast Louisiana, Western Mississippi, Eastern Texas | SERC | Severe Weather | UNK | 74645
2011-04-04 | 19:00 | 2011-04-05 | 12:00 | Kentucky, West Virginia | RFC | Severe Weather | UNK | 52920
2011-04-04 | 21:00 | 2011-04-05 | 23:30 | Alabama, Florida, Georgia, Mississippi | SERC | Severe Weather | 674 | 303434
2011-04-05 | 2:00 | 2011-04-07 | 23:00 | North Carolina, South Carolina | SERC | Severe Weather | 1200 | 256000
2011-04-06 | 10:50 | 2011-04-06 | 10:50 | Felton, Delaware | RFC | Vandalism | 0 | 0
2011-04-11 | 17:40 | 2011-04-11 | 17:51 | Salt Lake City, Utah | WECC | Suspicious Activity | 0 | 0
2011-04-16 | 14:16 | 2011-04-17 | 16:30 | Central and Eastern North Carolina | SERC | Severe Weather | UNK | 220000
2011-04-19 | 20:00 | 2011-04-19 | 22:00 | Illinois | SERC | Severe Weather | UNK | 80000
2011-04-19 | 14:01 | 2011-04-19 | 16:04 | Graham, Washington | WECC | Vandalism | 0 | 0
2011-04-19 | 22:44 | 2011-04-20 | 2:00 | Memphis, Tennessee | SERC | Severe Weather | 100 | 64000
2011-04-19 | 23:02 | 2011-04-21 | 17:32 | Memphis, Tennessee | SERC | Severe Weather | 300 | 105000
2011-04-19 | 23:13 | 2011-04-20 | 19:14 | Osceola, Arkansas | SERC | Severe Weather | 22 | UNK
2011-04-20 | 2:00 | 2011-04-21 | 12:00 | Indiana, Kentucky, Ohio | RFC | Severe Weather - High Winds | UNK | 165711
2011-04-20 | 8:07 | 2011-04-20 | 8:14 | Ruston, Louisiana | SERC | Equipment Malfunction | 33 | 11000
2011-04-21 | 7:15 | 2011-04-21 | 16:50 | Oquirrh Substation, Salt Lake City, Utah | WECC | Vandalism | 0 | 0
2011-04-21 | 19:00 | 2011-04-29 | 19:05 | Trenton, Michigan | RFC | Suspicious Activity | UNK | UNK
2011-04-22 | 21:00 | 2011-04-22 | 23:00 | Metro St. Louis area, Missouri | SERC | Severe Weather | 0 | 55000
2011-04-25 | 16:33 | 2011-04-25 | 17:19 | Northeast Tennessee | SERC | Equipment Malfunction | 140 | UNK
2011-04-25 | 17:30 | 2011-04-27 | 18:00 | Arkansas, Louisiana, Mississippi | SPP | Severe Weather | UNK | 141700
2011-04-26 | 5:49 | 2011-04-27 | 9:59 | Southern Louisiana | SPP | Severe Weather | 120 | UNK
2011-04-26 | 9:51 | 2011-04-28 | 9:51 | Alabama, Georgia, Mississippi, Tennessee | SERC | Severe Weather | UNK | 55000
2011-04-26 | 13:04 | 2011-04-26 | 14:00 | Salt Lake City, Utah | WECC | Vandalism | 0 | 0
2011-04-26 | 18:14 | 2011-04-28 | 17:00 | Eastern Arkansas | SPP | Severe Weather | 50 | 13000
2011-04-27 | 8:00 | 2011-05-02 | 16:03 | Alabama, Florida, Georgia, Mississippi | SERC | Severe Weather | 1422 | 426640
2011-04-27 | 10:00 | 2011-04-29 | 16:29 | Alabama, Georgia, Mississippi, Tennessee | SERC | Severe Weather | UNK | 612000
2011-04-27 | 22:00 | 2011-04-28 | 10:00 | Ohio, Tennessee, Virginia | SERC | Severe Weather | 0 | 69000
2011-04-28 | 5:00 | 2011-04-30 | 18:30 | Cleveland area, Ohio | RFC | Severe Weather | UNK | 86000
2011-04-28 | 16:09 | 2011-04-28 | 16:10 | Phoenix, Arizona | WECC | Equipment Malfunction | 960 | UNK
May
2011-05-02 | 17:06 | 2011-05-02 | 20:00 | Hawaii | N/A | Severe Weather | 220 | 62000
2011-05-02 | 14:00 | 2011-05-02 | 14:00 | West River Substation, New Haven, Connecticut | NPCC | Suspected Physical Attack | 0 | 0
2011-05-02 | 8:52 | 2011-05-02 | 10:46 | N. Ogden Substation, Ogden, Utah | WECC | Vandalism | 0 | 0
2011-05-03 | 12:00 | 2011-05-05 | 12:00 | St. Lawrence Power Dam, New York | NPCC | Suspected Physical Attack | 0 | 0
2011-05-04 | 13:08 | 2011-05-04 | 13:25 | Maryland | RFC | Suspected Physical Attack | 0 | 0
2011-05-04 | 12:20 | 2011-05-04 | 15:40 | Michigan | RFC | Suspected Sabotage | 0 | 0
2011-05-05 | 9:15 | 2011-05-05 | 9:15 | New Hampshire | NPCC | Vandalism | 0 | 0
2011-05-06 | 6:56 | 2011-05-06 | 10:30 | Alderwood Substation, Portland, Oregon | WECC | Vandalism | 0 | 0
2011-05-08 | 19:35 | 2011-05-08 | 19:35 | New York | NPCC | Vandalism | UNK | 0
2011-05-09 | 13:11 | 2011-05-09 | 13:11 | Milton, New Hampshire | NPCC | Vandalism | 0 | 0
2011-05-09 | 4:08 | 2011-05-09 | 6:40 | Holtwood, Pennsylvania | RFC | Suspected Physical Attack | 630 | UNK
2011-05-10 | 22:21 | 2011-05-11 | 14:25 | Kentucky, West Virginia | RFC | Severe Weather | UNK | 58000
2011-05-10 | 13:45 | 2011-05-10 | 15:00 | New Hampshire | NPCC | Vandalism | 0 | 0
2011-05-10 | 3:25 | 2011-05-11 | 14:10 | Upper Peninsula, Michigan | RFC | Generation Inadequacy; Load Shed; Electrical System Separation (Islanding) | 585 | 78213
2011-05-11 | 15:55 | 2011-05-12 | 13:57 | Colbyville, Haines Road and Arrowhead Substations, Minnesota | MRO | Vandalism | 0 | 0
2011-05-11 | 13:35 | 2011-05-11 | 13:35 | Green River, Wyoming | WECC | Vandalism | 0 | 0
2011-05-11 | 11:00 | 2011-05-11 | 11:30 | North Chelsea Substation, New York | NPCC | Vandalism | 0 | 0
2011-05-11 | 0:15 | 2011-05-11 | 17:20 | Charlotte, North Carolina | SERC | Severe Weather | 300 | 71000
2011-05-13 | 6:00 | 2011-05-13 | 6:00 | Salt Lake, Utah | WECC | Vandalism | 0 | 0
2011-05-21 | 17:00 | 2011-05-22 | 18:34 | Dixie Valley Area, Nevada | WECC | Physical Attack | 56 | UNK
2011-05-22 | 17:09 | 2011-05-31 | 12:01 | Joplin, Sarcoxie, and Wentworth, Missouri | SPP | Severe Weather | 200 | 20000
2011-05-23 | 16:45 | 2011-05-25 | 23:59 | Central, Indiana | RFC | Severe Weather | 1024 | 215387
2011-05-23 | 12:30 | 2011-05-25 | 12:30 | St. Louis County, Missouri | SERC | Severe Weather | UNK | 70000
2011-05-24 | 16:45 | 2011-05-26 | 17:00 | Central Oklahoma | SPP | Severe Weather | UNK | 54000
2011-05-24 | 16:35 | 2011-05-25 | 12:40 | Eastern Virginia | SERC | Severe Weather | 790 | 175000
2011-05-24 | 9:00 | 2011-05-25 | 9:10 | Chicago, Illinois | RFC | Physical Attack | 0 | 0
2011-05-25 | 22:14 | 2011-05-28 | 11:00 | Central Indiana | RFC | Severe Weather | 200 | 141000
2011-05-26 | 19:56 | 2011-05-27 | 18:00 | Central Pennsylvania | RFC | Severe Weather | 150 | 120001
2011-05-26 | 18:30 | 2011-05-28 | 4:44 | Southern Balancing Area, Georgia | SERC | Severe Weather | 729 | 218783
2011-05-26 | 1:00 | 2011-05-26 | 6:00 | Greenwood, Mississippi | SERC | Transmission Level Interruption | 30 | 10000
2011-05-29 | 18:30 | 2011-05-31 | 22:00 | Mid and Southern Lower Peninsula, Michigan | RFC | Severe Weather | 250 | 113000
June
2011-06-02 | 23:45 | 2011-06-04 | 16:00 | Greater Columbia, South Carolina | SERC | Severe Weather | 0 | 50465
2011-06-04 | 1:17 | 2011-06-04 | 3:25 | Midway, California | WECC | Vandalism | UNK | 420
2011-06-05 | 5:30 | 2011-06-06 | 1:30 | Houston Metro-Area, Texas | TRE | Severe Thunderstorms | 473 | 78000
2011-06-05 | 20:02 | 2011-06-05 | 20:55 | Melones, California | WECC | Electrical System Separation (Islanding) | 10 | 5314
2011-06-06 | 0:13 | 2011-06-06 | 3:15 | El Paso County, Texas; Dona Ana County, New Mexico | SPP | Load Shed/ Automatic undervoltage relay action | 450 | 162000
2011-06-06 | 15:00 | 2011-06-08 | 15:00 | Eastern, Arkansas | SPP | Public Appeal to Reduce Electricity Usage | UNK | 13000
2011-06-07 | 14:00 | 2011-06-08 | 6:00 | Ohio | RFC | Severe Weather | UNK | 52747
2011-06-08 | 12:58 | 2011-06-08 | 12:58 | Fredrickson Substation, Washington | WECC | Vandalism | N/A | N/A
2011-06-09 | 4:30 | 2011-06-09 | 12:00 | Illinois | RFC | Severe Thunderstorms | UNK | 169000
2011-06-09 | 14:15 | 2011-06-09 | 14:15 | San Antonio Dam Area, Los Angeles County, California | WECC | Suspected Physical Attack | 0 | 0
2011-06-09 | 17:51 | 2011-06-10 | 12:00 | Western, Massachusetts; Connecticut | NPCC | Severe Thunderstorms | 0 | 100000
2011-06-12 | 19:00 | 2011-06-12 | 20:30 | Virginia | RFC | Severe Thunderstorms | 250 | 56000
2011-06-15 | 16:00 | 2011-06-16 | 6:30 | Bingham County, Idaho | WECC | Vandalism | N/A | N/A
2011-06-15 | 19:15 | 2011-06-16 | 6:00 | Georgia | SERC | Severe Thunderstorms | 563 | 169000
2011-06-15 | 19:17 | 2011-06-16 | 1:45 | Piedmont, North Carolina | SERC | Severe Thunderstorms | 300 | 70135
2011-06-18 | 15:30 | 2011-06-19 | 15:42 | Northern, Georgia | SERC | Severe Thunderstorms | 312 | 93828
2011-06-18 | 16:45 | 2011-06-20 | 23:59 | Eastern, Arkansas | SPP | Public Appeal to Reduce Electricity Usage | UNK | UNK
2011-06-18 | 17:00 | 2011-06-18 | 21:33 | North Carolina; South Carolina | SERC | Severe Thunderstorms | 300 | 70000
2011-06-20 | 10:36 | 2011-06-20 | 10:36 | Collins Substation, Washington | WECC | Vandalism | 0 | 0
2011-06-21 | 18:30 | 2011-06-22 | 7:00 | AEP Region | RFC | Severe Weather | UNK | 56000
2011-06-21 | 21:45 | 2011-06-23 | 2:00 | Illinois | RFC | Severe Thunderstorms | UNK | 300000
2011-06-22 | 9:46 | 2011-06-22 | 9:46 | Knoxville, Tennessee | SERC | Severe Weather | UNK | 106300
2011-06-22 | 19:00 | 2011-06-23 | 1:00 | Alabama; Georgia | SERC | Severe Thunderstorms | 316 | 75101
2011-06-22 | 20:12 | 2011-06-22 | 20:12 | Knoble Substation, Spanaway, Washington | WECC | Vandalism | 0 | 0
2011-06-23 | 8:10 | 2011-06-23 | 9:00 | Highgate, Vermont | NPCC | Vandalism | 0 | 0
2011-06-24 | 18:30 | 2011-06-25 | 1:30 | North/North Central Alabama; Georgia | SERC | Severe Thunderstorms | 340 | 102275
2011-06-26 | 16:46 | 2011-06-27 | 7:59 | Southwest Kansas | SPP | Public Appeal to Reduce Electricity Usage | UNK | UNK
2011-06-26 | 18:00 | 2011-06-27 | 13:00 | Alabama; Georgia | SERC | Severe Thunderstorms | 300 | 90160
2011-06-27 | 0:00 | 2011-06-29 | 1:00 | Illinois; Missouri | SERC | Severe Thunderstorms | UNK | 80000
2011-06-27 | 15:00 | 2011-06-27 | 19:00 | Texas | TRE | Public Appeal to Reduce Electricity Usage | 0 | 0
2011-06-27 | 18:55 | 2011-06-27 | 18:55 | Olympic Pipeline Substation, Washington | WECC | Vandalism | UNK | UNK
2011-06-29 | 11:30 | 2011-06-29 | 18:04 | Panhandle and Muleshoe, Texas | SPP | Public Appeal to Reduce Electricity Usage | 0 | 0
2011-06-30 | 14:11 | 2011-06-30 | 23:25 | Phoenix, Arizona | WECC | Major System Interruption/Load Shed | 5299 | 160000
2011-06-30 | 22:30 | 2011-07-01 | 17:00 | Illinois | RFC | Severe Weather | UNK | 121000
2011-06-30 | 22:31 | 2011-06-30 | 22:31 | Olympic Pipeline Substation, Washington | WECC | Vandalism | 0 | 0
July
2011-07-01 | 8:00 | 2011-07-01 | 8:01 | CONVEX Local Control Center, Connecticut | NPCC | Vandalism | 0 | 0
2011-07-01 | 16:38 | 2011-07-01 | 22:38 | Greene County Ohio | RFC | Vandalism | N/A | 0
2011-07-01 | 17:00 | 2011-07-03 | 20:00 | Southwest and South Central Minnesota | MRO | Severe Weather | UNK | 70000
2011-07-02 | 20:15 | 2011-07-06 | 22:00 | South East, Lower Peninsula, Michigan | RFC | Severe Weather | UNK | 182000
2011-07-04 | 18:00 | 2011-07-04 | 21:00 | Virginia | SERC | Severe Weather | 150 | 51580
2011-07-05 | 10:40 | 2011-07-05 | 11:37 | West Valley Substation Utah | WECC | Vandalism | 0 | 0
2011-07-06 | 9:51 | 2011-07-06 | 9:52 | Vermont | NPCC | Vandalism | N/A | N/A
2011-07-08 | 10:00 | 2011-07-08 | 10:00 | Saginaw, Minnesota | MRO | Vandalism | 0 | 0
2011-07-08 | 10:00 | 2011-07-11 | 9:00 | PJM Corporate Office, Pennsylvania | RFC | Suspected Cyber Attack | UNK | UNK
2011-07-11 | 9:00 | 2011-07-11 | 9:00 | Illinois | RFC | Severe Weather | UNK | 500000
2011-07-11 | 9:00 | 2011-07-11 | 10:25 | Michigan | RFC | Severe Weather | 254 | 103000
2011-07-11 | 11:15 | 2011-07-12 | 8:15 | Western and Southern Lower Peninsula Michigan | RFC | Severe Weather | UNK | 85000
2011-07-11 | 13:13 | 2011-07-11 | 13:13 | Southwest Ohio | RFC | Vandalism | 0 | 0
2011-07-11 | 13:30 | 2011-07-11 | 13:30 | Maine | NPCC | Vandalism | N/A | 0
2011-07-11 | 14:27 | 2011-07-12 | 15:50 | Indiana, Michigan, Ohio | RFC | Severe Weather | UNK | 120000
2011-07-12 | 12:00 | 2011-07-12 | 12:00 | Maine | NPCC | Vandalism | N/A | 0
2011-07-12 | 20:20 | 2011-07-12 | 21:30 | California | WECC | Suspected Physical Attack | UNK | UNK
2011-07-13 | 17:19 | 2011-07-13 | 22:03 | Pueblo, Colorado | WECC | Load Shed | 580 | N/A
2011-07-14 | 11:00 | 2011-07-14 | 19:00 | Texas | TRE | Public Appeal to Reduce Electricity Usage | 0 | 0
2011-07-18 | 17:00 | 2011-07-24 | 13:30 | Southeast Michigan | RFC | Severe Weather | N/A | 197166
2011-07-19 | 11:45 | 2011-07-19 | 15:00 | Maine | NPCC | Vandalism | N/A | N/A
2011-07-20 | 9:10 | 2011-07-20 | 16:30 | Frederickson Substation, Washington | WECC | Vandalism | N/A | N/A
2011-07-21 | 12:32 | 2011-07-22 | 6:30 | Lower Peninsula, Michigan | RFC | Public Appeal to Reduce Electricity Usage | 8881 | N/A
2011-07-21 | 13:00 | 2011-07-21 | 15:00 | Springfield, Illinois | SERC | Public Appeal to Reduce Electricity Usage | N/A | N/A
2011-07-22 | 11:00 | 2011-07-22 | 18:00 | Upstate, New York | NPCC | Public Appeal to Reduce Electricity Usage | N/A | N/A
2011-07-22 | 11:34 | 2011-07-22 | 17:26 | Ohio | RFC | Load Shed | 206 | 23000
2011-07-23 | 2:30 | 2011-07-24 | 9:00 | Illinois | RFC | Severe Weather | UNK | 169000
2011-07-24 | 14:34 | 2011-07-24 | 15:47 | Southern, New Hampshire | NPCC | Vandalism | 0 | 0
2011-07-26 | 12:01 | 2011-07-26 | 12:01 | Backup Control Center, Oklahoma | SPP | Vandalism | 0 | 0
2011-07-27 | 12:07 | 2011-07-27 | 12:08 | Fife, Washington | WECC | Vandalism | N/A | N/A
2011-07-28 | 7:26 | 2011-07-29 | 7:26 | Daviess County, Kentucky | SERC | Fuel Supply Deficiency (Coal) | N/A | N/A
2011-07-28 | 0:14 | 2011-07-29 | 12:00 | Entire ComEd Territory, Indiana | RFC | Severe Weather | UNK | 201000
2011-07-28 | 13:32 | 2011-07-28 | 13:32 | Indiana | RFC | Vandalism | N/A | N/A
2011-07-28 | 19:25 | 2011-07-28 | 19:25 | Spanaway, Washington | WECC | Vandalism | N/A | N/A
2011-07-29 | 11:46 | 2011-07-29 | 17:00 | Fredrickson, Washington | WECC | Vandalism | N/A | N/A
2011-07-29 | 20:45 | 2011-08-01 | 4:24 | Central New Jersey | RFC | Severe Weather | N/A | 67900
August
2011-08-01 | 15:00 | 2011-08-05 | 19:00 | Texas | TRE | Public Appeal to Reduce Electricity Usage | 0 | 0
2011-08-01 | 14:18 | 2011-08-01 | 14:18 | Jefferson, Oregon | WECC | Vandalism | N/A | N/A
2011-08-02 | 21:30 | 2011-08-03 | 19:00 | Northeast, Illinois | RFC | Severe Weather | UNK | 71500
2011-08-02 | 10:15 | 2011-08-03 | 9:16 | Oklahoma | SPP | Public Appeal to Reduce Electricity Usage | N/A | N/A
2011-08-03 | 10:00 | 2011-08-19 | 10:00 | Western New York | NPCC | Fuel Supply Deficiency (Coal) | 675 | UNK
2011-08-03 | 16:30 | 2011-08-03 | 21:00 | Central Arkansas | SPP | Public Appeal to Reduce Electricity Usage | 0 | 0
2011-08-03 | 16:29 | 2011-08-03 | 23:40 | Northeast Oklahoma | SPP | Public Appeal to Reduce Electricity Usage | 300 | N/A
2011-08-04 | 10:30 | 2011-08-04 | 16:00 | Arkansas, Oklahoma, Texas | SPP | Public Appeal to Reduce Electricity Usage | N/A | N/A
2011-08-08 | 9:30 | 2011-08-08 | 9:30 | Greene County, Ohio | RFC | Suspected Physical Attack | 0 | 0
2011-08-08 | 20:58 | 2011-08-10 | 16:30 | Northern and Central Oklahoma | SPP | Severe Weather | N/A | 54000
2011-08-08 | 19:36 | 2011-08-09 | 12:00 | Oklahoma | SPP | Electrical System Separation (Islanding) | 92 | 14500
2011-08-08 | 9:35 | 2011-08-08 | 16:00 | Collins Substation, Washington | WECC | Vandalism | N/A | N/A
2011-08-09 | 10:26 | 2011-08-09 | 17:00 | Polk Substation, Tacoma, Washington | WECC | Vandalism | N/A | N/A
2011-08-13 | 16:41 | 2011-08-14 | 19:00 | Kentucky | SERC | Severe Weather | UNK | 181700
2011-08-15 | 2:05 | 2011-08-15 | 3:40 | Utah | WECC | Vandalism | 0 | 0
2011-08-18 | 9:51 | 2011-08-18 | 16:00 | Collins Substation, Washington | WECC | Suspected Physical Attack | N/A | N/A
2011-08-20 | 17:42 | 2011-08-23 | 20:00 | Southeastern Michigan | RFC | Severe Weather | 254 | 65000
2011-08-21 | 22:45 | 2011-08-23 | 22:45 | Puerto Rico | N/A | Severe Weather | 2200 | 931000
2011-08-22 | 10:05 | 2011-08-22 | 16:00 | Collins Substation, Washington | WECC | Suspected Physical Attack | N/A | N/A
2011-08-23 | 13:51 | 2011-08-23 | 13:51 | Virginia | RFC | Earthquake | 0 | 0
2011-08-23 | 10:30 | 2011-08-23 | 16:54 | Southeastern New Mexico, Texas Panhandle | SPP | Public Appeal to Reduce Electricity Usage | 0 | 0
2011-08-23 | 15:43 | 2011-08-23 | 19:00 | Texas | TRE | Public Appeal to Reduce Electricity Usage | 0 | 0
2011-08-24 | 13:20 | 2011-08-29 | 19:00 | Texas | TRE | Public Appeal to Reduce Electricity Usage | 0 | 0
2011-08-24 | 7:45 | 2011-08-25 | 6:00 | Houston area, Texas | TRE | Severe Weather | 485 | 79000
2011-08-24 | 14:51 | 2011-08-24 | 22:00 | Arkansas, Louisiana, Texas | SPP | Severe Weather | N/A | 53064
2011-08-25 | 0:01 | 2011-08-25 | 0:01 | Maine | NPCC | Suspected Physical Attack | 0 | 0
2011-08-25 | 0:30 | 2011-08-28 | 20:00 | Cleveland area, Ohio | RFC | Severe Weather | N/A | 107833
2011-08-26 | 0:30 | 2011-08-28 | 0:30 | Pennsylvania | RFC | Severe Weather | N/A | 200717
2011-08-27 | 23:05 | 2077-08-29 | 15:30 | District of Columbia; Maryland | RFC | Severe Weather | N/A | 220000
2011-08-27 | 23:00 | 2011-08-29 | 8:00 | Maryland | RFC | Severe Weather | UNK | 108000
2011-08-27 | 22:00 | 2011-08-29 | 16:00 | Southern New Jersey | RFC | Severe Weather | 320 | 140000
2011-08-27 | 22:00 | 2011-08-29 | 22:00 | Pennsylvania | RFC | Severe Weather | N/A | 264000
2011-08-27 | 20:30 | 2011-09-04 | 23:30 | Maryland | RFC | Severe Weather | 1114 | 760113
2011-08-27 | 13:00 | 2011-08-29 | 13:00 | Delaware; Maryland | RFC | Severe Weather | N/A | 165000
2011-08-27 | 19:00 | 2011-08-29 | 13:31 | Eastern North Carolina | SERC | Severe Weather | 200 | 136000
2011-08-27 | 10:33 | 2011-08-29 | 14:00 | North Carolina; Virginia | SERC | Severe Weather | UNK | 1000000
2011-08-27 | 2:57 | 2011-08-29 | 23:30 | Eastern North Carolina | SERC | Severe Weather | UNK | 285465
2011-08-27 | 2:00 | 2011-08-27 | 5:15 | Wilson County North Carolina | SERC | Distribution System Interruption | 2 | 1200
2011-08-28 | 12:30 | 2011-08-28 | 12:31 | New York | NPCC | Severe Weather | N/A | 116000
2011-08-28 | 12:10 | 2011-08-28 | 12:11 | Eastern Massachusetts | NPCC | Severe Weather | N/A | 50000
2011-08-28 | 9:42 | 2011-08-30 | 0:01 | Eastern New York | NPCC | Severe Weather | N/A | 100000
2011-08-28 | 7:40 | 2011-08-29 | 7:40 | Southwest Connecticut | NPCC | Severe Weather | N/A | 158000
2011-08-28 | 7:00 | 2011-09-03 | 0:01 | New York | NPCC | Severe Weather | UNK | 99700
2011-08-28 | 5:01 | 2011-09-03 | 5:01 | Borough's and Westshester County New York | NPCC | Severe Weather | N/A | 50000
2011-08-28 | 5:00 | 2011-08-30 | 5:00 | Long Island, New York | NPCC | Severe Weather | UNK | 152261
2011-08-28 | 0:01 | 2011-08-30 | 0:01 | Mid-Hudson, New York | NPCC | Severe Weather | N/A | 180000
2011-08-28 | 2:58 | 2011-08-30 | 2:58 | Eastern and Northeastern Pennsylvania | RFC | Severe Weather | 110 | 284000
2011-08-28 | 0:30 | 2011-08-30 | 0:30 | Northern and Central New Jersey | RFC | Severe Weather | N/A | 650000
2011-08-28 | 0:23 | 2011-08-30 | 0:23 | New Jersey | RFC | Severe Weather | 500 | 665000
2011-08-28 | 20:55 | 2011-08-28 | 23:39 | Calapooya Substation, Oregon | WECC | Suspected Physical Attack | 0 | 0
2011-08-31 | 12:52 | 2011-08-31 | 12:52 | Southwest Ohio | RFC | Suspected Physical Attack | 0 | 0
September
2011-09-01 | 8:13 | 2011-09-01 | 16:00 | Graham Substaion, Washington | WECC | Vandalism | N/A | N/A
2011-09-03 | 14:00 | 2011-09-08 | 18:00 | Southeast Lower Peninsula, Michigan | RFC | Severe Weather | UNK | 105000
2011-09-05 | 16:30 | 2011-09-07 | 15:45 | Alabama; Georgia | SERC | Severe Weather | 177 | 53295
2011-09-07 | 0:08 | 2011-09-07 | 10:50 | Western Connecticut; New York | NPCC | Actual Physical Attack | 0 | 0
2011-09-08 | 15:28 | 2011-09-10 | 15:30 | Arizona; California | WECC | Transmission/Distribution Interruption; Load Shed; Generation Inadequacy | 7000 | 2000000
2011-09-08 | 19:53 | 2011-09-09 | 16:00 | Collins Substation, Tacoma, Washington | WECC | Vandalism | N/A | N/A
2011-09-12 | 9:15 | 2011-09-12 | 15:30 | English Creek, New Jersey | RFC | Vandalism | 0 | 0
2011-09-13 | 11:43 | 2011-09-14 | 16:00 | Lacamas Substation, Roy, Washington | WECC | Vandalism | N/A | N/A
2011-09-13 | 14:03 | 2011-09-13 | 18:21 | Saranac, New York | NPCC | Vandalism | N/A | 0
2011-09-14 | 9:00 | 2011-09-14 | 14:00 | Salt Lake County, Utah | WECC | Vandalism | 0 | 0
2011-09-20 | 12:55 | 2011-09-20 | 17:00 | Lacamas Substaion, Washington | WECC | Vandalism | N/A | N/A
2011-09-21 | 10:30 | 2011-09-21 | 10:30 | Hockessin, Delaware | RFC | Suspected Physical Attack | 0 | 0
2011-09-21 | 14:37 | 2011-09-21 | 15:47 | Puerto Rico | N/A | Generation Inadequacy; Load Shed | 600 | 319616
2011-09-22 | 14:50 | 2011-09-22 | 14:51 | Montgomery County, Ohio | RFC | Vandalism | N/A | 0
2011-09-23 | 9:04 | 2011-09-23 | 9:04 | North Haven, Connecticut | NPCC | Vandalism | 0 | 0
2011-09-24 | 16:17 | 2011-09-25 | 16:00 | Collins Substation, Tacoma, Washington | WECC | Vandalism | N/A | N/A
2011-09-26 | 10:15 | 2011-09-26 | 10:15 | McKee City, New Jersey | RFC | Vandalism | 0 | 0
2011-09-29 | 5:00 | 2011-09-30 | 6:00 | Houston metro area, Texas | TRE | Severe Weather | N/A | 65000
2011-09-28 | 9:30 | 2011-09-28 | 13:00 | Watertown, Connecticut | NPCC | Vandalism | N/A | N/A
2011-09-28 | 14:59 | 2011-09-28 | 14:59 | Dorothy, New Jersey | RFC | Vandalism | 0 | 0
2011-09-28 | 16:41 | 2011-09-28 | 16:41 | Bethany Beach, Delaware | RFC | Suspected Physical Attack | 0 | 0
2011-09-29 | 18:44 | 2011-09-30 | 16:00 | Collins Substation, Tacoma, Washington | WECC | Vandalism | N/A | N/A
2011-09-30 | 8:22 | 2011-09-30 | 8:22 | Wilmington, Delaware | RFC | Suspected Physical Attack | 0 | 0
October
2011-10-06 | 11:07 | 2011-10-06 | 11:07 | Oquirrh Substation, Utah | WECC | Vandalism | 0 | 0
2011-10-07 | 8:04 | 2011-10-07 | 16:00 | Olympic Pipeline, Spanaway, Washington | WECC | Suspected Physical Attack | N/A | N/A
2011-10-14 | 14:20 | 2011-10-14 | 14:20 | English Creek, New Jersey | RFC | Vandalism | 0 | 0
2011-10-17 | 3:34 | 2011-10-17 | 10:42 | Seat Pleasant, Maryland | RFC | Vandalism | 0 | 0
2011-10-17 | 15:44 | 2011-10-17 | 15:44 | Southwest Ohio | RFC | Vandalism | 7 | 2000
2011-10-18 | 3:45 | 2011-10-18 | 5:25 | Holmesburg Substation, Philadelphia, Pennsylvania | RFC | Suspected Physical Attack | 0 | 0
2011-10-20 | 7:15 | 2011-10-20 | 7:15 | McKee, New Jersey | RFC | Vandalism | 0 | 0
2011-10-24 | 23:37 | 2011-10-26 | 23:00 | Holmesburg Substation, Philadelphia, Pennsylvania | RFC | Suspected Physical Attack | 0 | 0
2011-10-26 | 5:00 | 2011-10-27 | 15:00 | Denver; Ft. Collins, Colorado | WECC | Severe Weather | UNK | 204000
2011-10-27 | 1:00 | 2011-10-27 | 2:36 | Munster, Indiana | RFC | Vandalism | N/A | N/A
2011-10-29 | 8:59 | 2011-11-07 | 19:58 | Pennsylvania | RFC | Severe Weather | UNK | 312359
2011-10-29 | 8:59 | 2011-11-07 | 15:00 | Pennsylvania | RFC | Severe Weather | UNK | 50000
2011-10-29 | 9:59 | 2011-11-07 | 13:00 | Northwest and Central New Jersey | RFC | Severe Weather | UNK | 379000
2011-10-29 | 11:18 | 2011-11-04 | 0:00 | Southeast New York | NPCC | Severe Weather | UNK | 161151
2011-10-29 | 12:57 | 2011-11-03 | 23:00 | Harrisburg, Lehigh Valley, Lancaster Region Pennsylvania | RFC | Severe Weather | UNK | 146721
2011-10-29 | 14:00 | 2011-10-31 | 14:00 | Southeast Pennsylvania | RFC | Severe Weather | UNK | 109335
2011-10-29 | 14:30 | 2011-11-06 | 12:00 | New Jersey | RFC | Severe Weather | 125 | 197000
2011-10-29 | 15:00 | 2011-11-02 | 8:15 | Mid-Hudson Valley Region, New York | NPCC | Severe Weather | N/A | 145000
2011-10-29 | 16:14 | 2011-11-07 | 16:00 | Connecticut; Maine; Massachusetts; New Hampshire; Rhode Island | NPCC | Severe Weather | UNK | 1418100
2011-10-29 | 16:16 | 2011-11-02 | 21:30 | New York City area | NPCC | Severe Weather | UNK | 50000
2011-10-29 | 20:00 | 2011-10-31 | 20:00 | New Jersey; New York | NPCC, RFC | Severe Weather | N/A | 74000
November
2011-11-04 | 10:46 | 2011-11-04 | 10:46 | Sweetwater County, Wyoming | WECC | Vandalism | 0 | 0
2011-11-13 | 11:30 | 2011-11-13 | 12:00 | Cate Road, Deerfield, New Hampshire | NPCC | Vandalism | 0 | 0
2011-11-14 | 14:24 | 2011-11-14 | 14:24 | McKee, New Jersey | RFC | Vandalism | 0 | 0
2011-11-22 | 23:16 | 2011-11-22 | 23:16 | Indiana | RFC | Suspected Physical Attack | 0 | 0
2011-11-30 | 10:00 | 2011-11-30 | 11:00 | Orchard Substation, Washington | WECC | Vandalism | 0 | 0
2011-11-30 | 16:56 | 2011-12-02 | 10:00 | City of Los Angeles, California | WECC | Severe Weather | UNK | 150000
December
2011-12-01 | 0:45 | 2011-12-07 | 21:00 | Southern California | WECC | Severe Weather | UNK | 91690
2011-12-01 | 3:29 | 2011-12-02 | 13:05 | Northern California | WECC | Severe Weather | 300 | 100000
2011-12-01 | 10:00 | 2011-12-02 | 13:11 | Wasatch Front Area Utah | WECC | Severe Weather | UNK | 60000
2011-12-02 | 16:15 | 2011-12-02 | 20:30 | Rusk County Texas | TRE | Suspected Physical Attack | N/A | N/A
2011-12-05 | 14:00 | 2011-12-06 | 17:00 | Tacoma, Washington | WECC | Suspected Physical Attack | N/A | N/A
2011-12-06 | 8:00 | 2011-12-06 | 20:00 | Bismarck-Mandan, North Dakota | MRO | Public Appeal to Reduce Electricity Usage | 155 | 34500
2011-12-06 | 17:38 | 2011-12-07 | 11:04 | Montague, Michigan | RFC | Suspected Physical Attack | 0 | 0
2011-12-07 | 19:29 | 2011-12-07 | 22:57 | Central Virginia | SERC | Severe Weather | 240 | 60000
2011-12-08 | 8:45 | 2011-12-08 | 16:30 | Tacoma, Washington | WECC | Suspected Physical Attack | N/A | N/A
2011-12-13 | 3:19 | 2011-12-14 | 3:19 | Clinton County Ohio | RFC | Suspected Physical Attack | N/A | 0
2011-12-19 | 8:48 | 2011-12-19 | 16:00 | Croft Substation, Tacoma, Washington | WECC | Suspected Physical Attack | N/A | N/A
2011-12-20 | 7:45 | 2011-12-20 | 8:45 | Sweet Home, Oregon | WECC | Suspected Physical Attack | 12 | 2500
2011-12-20 | 9:30 | 2011-12-20 | 9:31 | Tacoma, Washington | WECC | Suspected Physical Attack | N/A | N/A
2011-12-21 | 10:30 | 2011-12-21 | 10:30 | Boise, Idaho | WECC | Suspected Cyber Attack | 0 | 0
2011-12-31 | 21:26 | 2011-12-31 | 21:26 | Tacoma, Washington | WECC | Suspected Physical Attack | N/A | N/A
1 Source: Submissions of all Electric Emergency Incident and Disturbance Reports (OE-417), http://www.oe.netl.doe.gov/oe417.aspx