## 2013
OE-417 Electric Emergency and Disturbance (OE-417) Events, 20131
Date Event Began | Time Event Began | Date of Restoration | Time of Restoration | Area Affected | NERC Region | Event Type | Demand Loss (MW) | Number of Customers Affected
January
2013-01-07 | 10:43 | 2013-01-07 | 10:43 | Denton, Maryland | RFC | Physcial Attack; Vandalism | Unknown | Unknown
2013-01-16 | 14:25 | 2013-01-16 | 14:25 | Denton, Maryland | RFC | Physcial Attack; Vandalism | Unknown | Unknown
2013-01-16 | 16:45 | 2013-01-16 | 19:26 | San Juan County, New Mexico | WECC | Suspected Physical Attack | 0 | 0
2013-01-16 | 7:41 | 2013-01-17 | 10:58 | Webster County, Iowa | MRO | Physical Attack | N/A | N/A
2013-01-17 | 18:07 | 2013-01-20 | 19:30 | Southwest Virginia, Southern West Virginia | RFC | Severe Weather - Winter Storm | Unknown | 127000
2013-01-17 | 19:02 | 2013-01-19 | 18:00 | Northeast Tennessee | SERC | Severe Weather - Winter Storm | Unknown | 80000
2013-01-17 | 20:35 | 2013-01-17 | 21:20 | Elizabeth City, North Carolina | SERC | Distribution Interruption | 40 | 12000
2013-01-20 | 3:30 | 2013-01-23 | 6:15 | Southeastern Michigan | RFC | Severe Weather - Wind Storm | Unknown | 146500
2013-01-28 | 16:46 | 2013-01-28 | 18:00 | Tacoma Narrows Crossing, Washington | WECC | Physical Attack | Unknown | Unknown
2013-01-31 | 3:05 | 2013-01-31 | 4:48 | Central and Eastern Virginia | SERC | Severe Weather - Wind Storm | 188 | 119000
2013-01-31 | 6:30 | 2013-01-31 | 10:00 | Connecticut | NPCC | Severe Weather - Wind Storm | 75 | 75000
February
2013-02-02 | 21:15 | 2013-02-02 | 22:15 | El Paso, New Mexico | WECC | Vandalism | N/A | N/A
2013-02-07 | 8:32 | 2013-02-07 | 9:47 | Cincinnati, Ohio | RFC | Vandalism | Unknown | 0
2013-02-08 | 11:38 | 2013-02-08 | 14:17 | District of Columbia; Prince George's County Maryland | RFC | Equipment Trip & Failure | 140 | 52000
2013-02-08 | 20:00 | 2013-02-11 | 20:30 | Central and eastern Massachusetts; Rhode Island | NPCC | Severe Weather - Winter Storm Nemo | N/A | 50000
2013-02-08 | 20:55 | 2013-02-12 | 4:00 | Boston area and Southeast Massachusetts | NPCC | Severe Weather - Winter Storm Nemo | Unknown | 50000
2013-02-09 | 8:30 | 2013-02-09 | 15:00 | El Paso, New Mexico | WECC | Vandalism; Equipment Fault | Unknown | Unknown
2013-02-10 | 19:46 | 2013-02-10 | 20:15 | Puerto Rico | N/A | Generator Trip; Voltage Reduction | 350 | Unknown
2013-02-13 | 9:30 | 2013-02-13 | 9:30 | Fort Washington, Maryland | RFC | Vandalism | 1 | 1
2013-02-13 | 17:39 | 2013-02-15 | 17:50 | Eastern Massachusetts | NPCC | Fuel Supply Emergency - Petroleum | 1 | 1
2013-02-15 | 0:00 | 2013-02-15 | 0:01 | Tuxedo, Maryland | RFC | Vandalism | N/A | N/A
2013-02-16 | 7:54 | 2013-02-16 | 7:54 | Prince George's County Maryland | RFC | Vandalism | 1 | 1
2013-02-19 | 16:01 | 2013-02-20 | 12:55 | Stockton, California | WECC | Electrical System Separation (Islanding) | 13850 | 6810
2013-02-21 | 11:00 | 2013-02-21 | 11:30 | Las Cruces, New Mexico | WECC | Vandalism | Unknown | Unknown
2013-02-26 | 13:00 | 2013-03-01 | 10:00 | Northern Missouri | SERC | Severe Weather - Winter Storm Nemo | Unknown | 56444
March
2013-03-03 | 6:39 | 2013-03-03 | 10:29 | Merced County, California | WECC | Transmission System Interruption | 300 | 58850
2013-03-03 | 16:27 | 2013-03-03 | 18:20 | Tacoma Park, Maryland | RFC | Vandalism | Unknown | Unknown
2013-03-04 | 9:49 | 2013-03-04 | 22:00 | Metropolitan area Puerto Rico | N/A | Equipment Failure; Transmission System Interruption | Unknown | Unknown
2013-03-06 | 8:22 | 2013-03-07 | 10:27 | Northwest Virginia | SERC | Severe Weather - Winter Storm | 400 | 233000
2013-03-18 | 5:21 | 2013-03-18 | 5:41 | Systemwide Puerto Rico | N/A | Generator Trip; Load Shed | 350 | 262937
2013-03-18 | 17:50 | 2013-03-18 | 18:07 | Northeast Florida | FRCC | Suspected Physical Attack | 0 | 0
2013-03-18 | 19:30 | 2013-03-20 | 14:30 | North/Central Alabama; Georgia | SERC | Severe Weather - Thunderstorms | 800 | 240000
2013-03-23 | 7:00 | 2013-03-23 | 9:00 | Connecticut | NPCC | Vandalism | Unknown | Unknown
2013-03-27 | 10:25 | 2013-03-27 | 12:19 | Western Massachusetts | NPCC | Physical Attack; Vandalism | Unknown | Unknown
2013-03-28 | 13:01 | 2013-03-28 | 13:02 | Wilmington, Delaware | RFC | Vandalism | Unknown | Unknown
2013-03-29 | 10:16 | 2013-03-29 | 10:17 | Maryland | RFC | Suspected Physical Attack | Unknown | Unknown
April
2013-04-01 | 8:40 | 2013-04-01 | 8:41 | Connecticut | NPCC | Vandalism - Copper Wire Theft | Unknown | Unknown
2013-04-03 | 11:05 | 2013-04-03 | 14:00 | Colorado Springs, Colorado | WECC | Sabotage; Vandalism | 0 | 0
2013-04-09 | 11:30 | 2013-04-09 | 11:31 | Delaware City, Delaware | RFC | Vandalism | N/A | N/A
2013-04-16 | 1:47 | 2013-04-18 | 15:25 | California | WECC | Loss of Part of a High Voltage Substation, Physical Attack | N/A | 0
2013-04-17 | 15:36 | 2013-04-17 | 16:53 | Colbert Steam Plant in Cherokee, Alabama | SERC | Suspected Physical Attack | Unknown | Unknown
2013-04-18 | 15:00 | 2013-04-21 | 3:30 | Southeast Michigan, Michigan | RFC | Severe Weather - Storms and Wind | Unknown | 99188
2013-04-21 | 2:11 | 2013-04-21 | 12:30 | East Tennessee | SERC | Suspected Physical Attack | N/A | N/A
2013-04-23 | 11:00 | 2013-04-23 | 11:01 | Newark, Delaware | RFC | Vandalism | Unknown | Unknown
2013-04-23 | 0:49 | 2013-04-23 | 4:04 | South of Humboldt, California | WECC | Electrical System Separation (Islanding) | 80 | 1
2013-04-25 | 16:00 | 2013-04-26 | 10:55 | Sunol, California | WECC | Vandalism | 0 | 0
May
2013-05-01 | 9:22 | 2013-05-01 | 9:24 | Northeast Colorado | WECC | Electrical System Separation (Islanding) | 123 | 35230
2013-05-02 | 6:52 | 2013-05-02 | 10:07 | Unknown | WECC | Electrical System Separation (Islanding) | Unknown | Unknown
2013-05-09 | 13:21 | 2013-05-09 | 16:21 | Alberta, Canada; Washington State | WECC | Electrical System Separation (Islanding) | Unknown | Unknown
2013-05-13 | 12:52 | Ongoing | Ongoing | Central California | WECC | Fuel Supply Emergency - Hydro | 176 | Unknown
2013-05-14 | 0:01 | 2013-05-14 | 13:59 | Portland, Oregon | WECC | Vandalism/Theft | N/A | N/A
2013-05-14 | 10:25 | 2013-05-14 | 11:42 | New Hampshire | NPCC | Vandalism | N/A | N/A
2013-05-15 | 14:11 | 2013-05-15 | 14:12 | Wilmington, Delaware | RFC | Vandalism | Unknown | Unknown
2013-05-17 | 8:35 | 2013-05-17 | 8:36 | Newcastle, Delaware | RFC | Vandalism | Unknown | Unknown
2013-05-20 | 15:00 | 2013-05-22 | 17:00 | Moore, Oklahoma | SPP | Severe Weather - Tornados | Unknown | 41306
2013-05-20 | 17:22 | 2013-05-20 | 21:09 | Gonzales Area Louisiana | SERC | Generator Trip; Load Shed 100+ MW | 103 | 21800
2013-05-22 | 10:51 | 2013-05-22 | 10:57 | System wide Puerto Rico | N/A | System Wide Voltage Reduction | 280 | 197287
2013-05-28 | 13:00 | 2013-05-28 | 18:00 | Maine | NPCC | Vandalism/Theft | None | None
2013-05-29 | 0:00 | 2013-05-29 | 0:02 | Henrico County, Virginia | SERC | Physical Attack | Unknown | Unknown
2013-05-29 | 20:58 | 2013-05-31 | 14:53 | Central and Eastern New York | NPCC | Severe Weather - Thunderstorms | Unknown | 61795
2013-05-29 | 9:52 | 2013-05-29 | 9:53 | Wilmington, Delaware | RFC | Vandalism/Theft | N/A | N/A
2013-05-30 | 10:15 | 2013-05-30 | 10:16 | Saranac, New York | NPCC | Vandalism | N/A | N/A
2013-05-31 | 1:00 | 2013-05-31 | 1:30 | Maumelle, Arkansas | SPP | Severe Weather - Lightning | N/A | N/A
2013-05-31 | 18:00 | 2013-06-04 | 10:30 | El Reno, S. Oklahoma City, Oklahoma | SPP | Severe Weather - Tornados | Unknown | 127000
2013-05-31 | 19:07 | 2013-06-01 | 14:15 | Southeast Kansas, Northeast Oklahoma | MRO | Transmission System Interruption | 102 | 6300
2013-05-31 | 19:30 | 2013-06-01 | 20:00 | St. Louis Metro Area Missouri | SERC | Severe Weather - Thunderstorms | Unknown | 100000
June
2013-06-03 | 12:50 | 2013-06-03 | 13:36 | Alberta, Canada | WECC | Electrical System Separation (Islanding) | Unknown | Unknown
2013-06-13 | 20:47 | 2013-06-14 | 22:47 | Southern Company Territory | SERC | Severe Weather - Thunderstorms | 550 | 165798
2013-06-13 | 15:30 | 2013-06-13 | 16:00 | District of Columbia; Maryland | RFC | Loss of 300+ MW Load; Severe Weather - Thunderstorms | 700 | 40000
2013-06-13 | 16:08 | 2013-06-14 | 17:16 | Richmond Metro area, Virginia | SERC | Severe Weather - Thunderstorms | 900 | 283000
2013-06-13 | 13:17 | 2013-06-14 | 17:35 | Western Piedmont North Carolina | SERC | Severe Weather - Thunderstorms | 1000 | 175000
2013-06-13 | 17:45 | 2013-06-14 | 18:30 | Central and Eastern North Carolina | SERC | Severe Weather - Thunderstorms | Unknown | 53000
2013-06-13 | 15:20 | 2013-06-14 | 21:10 | Ohio; Virginia; West Virginia | RFC; SERC | Severe Weather - Thunderstorms | Unknown | 90247
2013-06-17 | 16:17 | 2013-06-17 | 18:49 | Hillsborough County Florida | FRCC | Load Shed of 100+ MW Under Emergency Operational Policy | 180 | 37
2013-06-18 | 15:51 | 2013-06-18 | 16:23 | Wyoming | WECC | Electrical System Separation (Islanding) | 6 | Unknown
2013-06-19 | 19:57 | 2013-06-19 | 20:09 | Alberta, Canada | WECC | Electrical System Separation (Islanding) | Unknown | Unknown
2013-06-20 | 18:00 | 2013-06-21 | 10:00 | Richie Station (No. 123), Maryland | RFC | Physcial Attack; Vandalism | Unknown | Unknown
2013-06-21 | 8:31 | 2013-10-30 | 14:09 | Michigan, Iowa | MRO | Suspected Cyber Attack | Unknown | Unknown
2013-06-21 | 7:40 | 2013-06-21 | 12:14 | Pahrump Nevada | WECC | Physical Attack; Vandalism & Sabotage | Unknown | 1100
2013-06-21 | 3:00 | 2013-06-26 | 12:00 | Minnesota | MRO | Severe Weather - Hailstorm | Unknown | 193000
2013-06-21 | 23:14 | 2013-06-21 | 23:15 | New Castle Delaware | RFC | Physical Attack; Vandalism | Unknown | Unknown
2013-06-21 | 17:39 | 2013-06-24 | 6:00 | Minneapolis/St. Paul area Minnesota | MRO | Severe Weather - Hailstorm | Unknown | 400000
2013-06-22 | 16:12 | 2013-06-22 | 17:45 | Eastern Montana | WECC | Suspected Physical Attack | Unknown | Unknown
2013-06-22 | 4:59 | 2013-06-22 | 21:28 | Medford Oregon | WECC | Physical Attack; Vandalism | N/A | N/A
2013-06-23 | 21:20 | 2013-06-24 | 1:35 | Central Coast California | WECC | Severe Weather - Fog | Unknown | 148000
2013-06-24 | 19:30 | 2013-06-25 | 17:46 | Illinois | RFC | Severe Weather - Thunderstorms | Unknown | 283451
2013-06-24 | 19:30 | 2013-06-26 | 17:00 | Indiana | RFC | Severe Weather - Thunderstorms | Unknown | 86615
2013-06-27 | 17:00 | 2013-06-28 | 0:00 | South Eastern Michigan | RFC | Severe Weather - Thunderstorms | Unknown | 138000
2013-06-27 | 1:10 | 2013-06-27 | 2:45 | Richie Substation,Seat Pleasant, Maryland | RFC | Physical Attack; Vandalism | Unknown | Unknown
2013-06-28 | 18:02 | 2013-06-28 | 20:46 | Los Angeles and Orange Counties, California | WECC | Equipment Failure | 240 | 65255
2013-06-28 | 13:00 | 2013-06-28 | 13:01 | Vermont | NPCC | Physical Attack; Vandalism | Unknown | Unknown
2013-06-28 | 17:14 | 2013-06-28 | 17:15 | New Castle Delaware | RFC | Physical Attack; Vandalism | Unknown | Unknown
July
2013-07-02 | 14:20 | 2013-07-05 | 15:30 | Alberta, Canada | WECC | Load Shed 100+MW | 200 | Unknown
2013-07-03 | 9:34 | 2013-07-03 | 10:52 | Sacramento California | WECC | Suspected Physical Attack | 0 | 0
2013-07-03 | 12:04 | 2013-07-03 | 12:48 | System-wide Puerto Rico | N/A | Voltage Reduction; Line and Generator Trip | 480 | 393000
2013-07-05 | 0:05 | 2013-07-05 | 1:51 | California | WECC | Physical Attack; Vandalism | Unknown | 2500
2013-07-10 | 14:30 | 2013-07-10 | 14:45 | Boston, Massachusetts | NPCC | Physical Attack; Copper Theft | 0 | 0
2013-07-10 | 17:30 | 2013-07-11 | 20:00 | AEP Ohio Power Footprint | RFC | Severe Weather - Thunderstorms | N/A | 122314
2013-07-11 | 23:20 | 2013-07-14 | 15:22 | Arizona | WECC | Physical Attack; Vandalism | 455 | Unknown
2013-07-12 | 10:00 | 2013-07-12 | 10:01 | Washington | WECC | Physical Attack; Vandalism | Unknown | Unknown
2013-07-17 | 15:30 | 2013-07-19 | 6:45 | Holtsville, New York | NPCC | Fuel Supply Emergency (Natural Gas) | 417 | Unknown
2013-07-18 | 3:15 | 2013-07-18 | 3:59 | Utah | WECC | Physical Attack; Vandalism | N/A | N/A
2013-07-18 | 11:30 | 2013-07-19 | 17:30 | Upstate New York | NPCC | Public Appeal - Heatwave | Unknown | Unknown
2013-07-18 | 23:45 | 2013-07-19 | 10:05 | Southern Orange County California | WECC | Equipment Failure | 200 | 123000
2013-07-19 | 18:00 | 2013-07-20 | 9:00 | Michigan | RFC | Severe Weather - Thunderstorms | Unknown | 156627
2013-07-19 | 22:30 | 2013-07-21 | 20:00 | New York | NPCC | Severe Weather - Thunderstorms | Unknown | 74300
2013-07-22 | 7:00 | 2013-07-22 | 15:00 | California | WECC | Physical Attack; Vandalism | Unknown | Unknown
2013-07-23 | 23:38 | 2013-07-25 | 4:30 | Tulsa, Oklahoma | SPP | Severe Weather - Thunderstorms | 500 | 92748
2013-07-25 | 13:10 | 2013-07-25 | 13:15 | Polk Substation, Tacoma Washington | WECC | Physical Attack; Vandalism | N/A | N/A
August
2013-08-01 | 11:00 | 2013-08-01 | 16:00 | Newburgh, New York | NPCC | Physical Attack; Copper Theft | N/A | N/A
2013-08-01 | 18:54 | 2013-08-01 | 19:37 | Western British Columbia | WECC | Electrical System Separation (Islanding | 420 | Unknown
2013-08-01 | 23:19 | 2013-08-02 | 0:49 | Daytona Beach Florida | FRCC | Loss of 300+ MW Load | 297 | 104498
2013-08-04 | 3:00 | 2013-08-04 | 4:00 | Utah | WECC | Physical Attack; Vandalism | N/A | N/A
2013-08-05 | 18:35 | 2013-08-05 | 18:45 | Vancouver, British Columbia | WECC | Electrical System Separation (Islanding); Severe Weather | Unknown | Unknown
2013-08-06 | 16:00 | 2013-08-06 | 17:32 | Holloman Air Force Base, New Mexico | WECC | Physcial Attack; Vandalism | Unknown | Unknown
2013-08-07 | 7:30 | 2013-08-07 | 9:14 | Green Bay, Wisconsin | MRO | Fuel Supply Emergency (Natural Gas & Fuel Oil) | Unknown | Unknown
2013-08-07 | 14:30 | 2013-08-08 | 13:00 | Arlington, Oregon | WECC | Physcial Attack; Vandalism | Unknown | Unknown
2013-08-07 | 0:15 | 2013-08-07 | 21:27 | Eastern Central Wisconsin | MRO | Severe Weather - Thunderstorms | 220 | 51160
2013-08-12 | 11:55 | 2013-08-12 | 11:59 | Portland, Oregon | WECC | Suspicious Activity | Unknown | Unknown
2013-08-16 | 16:58 | 2013-08-17 | 23:58 | Houston Service Area Texas | TRE | Severe Weather - Thunderstorms | Unknown | 219681
2013-08-19 | 19:06 | 2013-08-20 | 6:02 | Central California | WECC | Severe Weather - Lightning Strike | 685 | 124000
2013-08-21 | 14:00 | 2013-08-21 | 14:01 | Cabot, Arkansas | SERC | Physcial Attack; Sabotage | N/A | N/A
2013-08-22 | 8:40 | 2013-08-22 | 11:49 | Gila River, Arizona | WECC | Physcial Attack; Sabotage | N/A | N/A
2013-08-22 | 12:55 | 2013-08-22 | 14:45 | New Castle, Delaware | RFC | Physcial Attack; Vandalism | Unknown | Unknown
2013-08-23 | 7:30 | 2013-08-23 | 7:31 | New Castle, Delaware | RFC | Physcial Attack; Vandalism | Unknown | N/A
2013-08-26 | 20:15 | 2013-08-26 | 20:16 | Tacoma Washington | WECC | Physcial Attack; Vandalism | Unknown | Unknown
2013-08-28 | 9:30 | 2013-08-28 | 9:31 | Sweetwater County Wyoming | WECC | Physcial Attack; Vandalism | N/A | N/A
2013-08-29 | 14:57 | 2013-08-29 | 15:29 | Ashland, Wisconsin | MRO | Electrical System Separation (Islanding); Severe Weather | 15 | 7000
2013-08-29 | 9:50 | 2013-08-29 | 9:50 | Joplin, Missouri | N/A | Physcial Attack; Vandalism | Unknown | Unknown
2013-08-30 | 19:30 | 2013-08-31 | 1:30 | Entire ComEd territory Illinois | RFC | Severe Weather - Thunderstorms | Unknown | 157000
September
2013-09-10 | 17:42 | 2013-09-11 | 0:02 | Erie, Pennsylvania | RFC | Load Shed of 100+ MW | 105 | Unknown
2013-09-11 | 16:00 | 2013-09-15 | 16:00 | Southeastern Michigan | RFC | Severe Weather - Thunderstorms | 400 | 75000
2013-09-29 | 0:00 | 2013-09-29 | 1:00 | Cabot Arkansas | SERC | Physcial Attack; Sabotage | Unknown | Unknown
October
2013-10-06 | 7:25 | 2013-10-06 | 9:15 | Jacksonville, Arkansas | SPP | Physical Attack | Unknown | 9200
2013-10-11 | 14:30 | 2013-10-11 | 18:30 | Keo, Arkansas | SERC | Physical Attack | Unknown | Unknown
2013-10-16 | 11:15 | 2013-10-16 | 18:00 | Roxboro Plant, North Carolina | SERC | Cyber Event with Potential to Cause Impact | 0 | 0
2013-10-19 | 14:32 | 2013-10-19 | 22:00 | California | WECC | Physical Attack | Unknown | Unknown
2013-10-21 | 5:18 | 2013-10-21 | 5:33 | Location Unknown | WECC | Electrical System Separation (Islanding) | 115 | 433
2013-10-26 | 7:13 | 2013-10-26 | 7:14 | Arizona | WECC | Suspected Physical Attack | Unknown | Unknown
2013-10-27 | 4:27 | 2013-10-27 | 22:27 | Houston, Texas | TRE | Severe Weather - Hail Storm | Unknown | 171117
November
2013-11-01 | 13:26 | 2013-11-01 | 13:27 | Wilmington, Delaware | RFC | Physical Attack - Vandalism | Unknown | Unknown
2013-11-02 | 8:25 | 2013-11-02 | 8:26 | Salt Lake City, Utah | WECC | Physical Attack - Vandalism | N/A | N/A
2013-11-02 | 0:00 | 2013-11-04 | 6:00 | King, Whatcom, and Skagit, Washington | WECC | Severe Weather - Heavy Winds | Unknown | 105000
2013-11-04 | 9:04 | 2013-11-04 | 9:05 | Connecicut | NPCC | Physical Attack - Vandalism | Unknown | Unknown
2013-11-05 | 10:10 | 2013-11-07 | 10:10 | Indiana | RFC | Physical Attack | Unknown | Unknown
2013-11-12 | 14:04 | 2013-11-12 | 14:05 | Valle, California | WECC | Electrical System Separation (Islanding) | 55 | 48400
2013-11-12 | 9:14 | 2013-11-12 | 10:30 | Eastern Central New Mexico | SPP | Loss of Power from Wholesale Provider; Major Distribution Disruption | Unknown | Unknown
2013-11-16 | 15:15 | 2013-11-16 | 15:16 | Salt Lake County, Utah | WECC | Physical Attack - Vandalism | N/A | N/A
2013-11-17 | 7:00 | 2013-11-20 | 18:54 | Michigan | RFC | Severe Weather - Ice and Snow Storm | Unknown | 325325
2013-11-17 | 12:35 | 2013-11-17 | 13:40 | Rochelle, Indiana | RFC | System-wide voltage reductions of 3 percent or more | 38 | 7500
2013-11-17 | 16:47 | 2013-11-20 | 11:59 | Central Indiana | RFC | Severe Weather - Tornadoes | 535 | 61705
2013-11-17 | 16:45 | 2013-11-21 | 16:45 | Entire Lower Peninsula Michigan | RFC | Severe Weather - Thunderstorms | Unknown | 50000
2013-11-17 | 12:35 | 2013-11-20 | 11:00 | Central Missouri, Central Illinois | SERC | Severe Weather - Tornadoes | Unknown | 200000
2013-11-17 | 13:06 | 2013-11-20 | 13:06 | North Central Indiana | RFC | Severe Weather - Thunderstorms | Unknown | 75065
2013-11-17 | 16:19 | 2013-11-18 | 18:00 | Indiana, Michigan | RFC | Severe Weather - Thunderstorms | Unknown | 77346
2013-11-17 | 14:31 | 2013-11-17 | 22:30 | Entire ComEd Territory Illinois | RFC | Severe Weather - Thunderstorms | Unknown | 190000
2013-11-17 | 16:47 | 2013-11-20 | 16:47 | Central Indiana | RFC | Severe Weather - Thunderstorms | Unknown | 61705
2013-11-20 | 3:08 | 2013-11-20 | 3:09 | Salt Lake County Utah | WECC | Physical Attack - Vandalism | Unknown | Unknown
2013-11-21 | 19:45 | 2013-11-22 | 3:20 | Northern California | WECC | Severe Weather - Wind Storm | 150 | 89500
2013-11-24 | 7:38 | 2013-11-24 | 7:39 | Salt Lake County Utah | WECC | Physical Attack - Vandalism | N/A | N/A
December
2013-12-04 | 5:00 | 2013-12-04 | 16:17 | Idaho Falls Area Idaho, Utah-Idaho Border Utah | WECC | Load Shed 100+ MW | 150 | Unknown
2013-12-06 | 8:47 | 2013-12-06 | 8:49 | Saratoga, Utah | WECC | Physical Attack - Vandalism, Theft | N/A | N/A
2013-12-06 | 1:51 | 2013-12-11 | 12:00 | Greater Houston, Texas | TRE | Severe Weather - Ice/Snow | Unknown | 881000
2013-12-09 | 6:54 | 2013-12-09 | 14:22 | Virginia Service Territory | SERC | Severe Weather - Ice/Snow | 293 | 88000
2013-12-10 | 1:01 | 2013-12-11 | 1:01 | Arizona | WECC | Suspected Physical Attack | Unknown | Unknown
2013-12-13 | 11:00 | 2013-12-27 | 11:00 | Texas | TRE | Fuel Supply Emergencies (Coal) | Unknown | Unknown
2013-12-13 | 11:00 | 2013-12-27 | 11:00 | Texas | TE | Fuel Supply Emergencies (Coal) | Unknown | Unknown
2013-12-22 | 6:16 | 2013-12-24 | 23:59 | Frontier/Genesee/Northern New York | NPCC | Severe Weather - Ice/Snow | Unknown | 59000
2013-12-22 | 6:30 | 2013-12-25 | 5:12 | Michigan | RFC | Severe Weather - Ice/Snow | 350 | 140735
2013-12-22 | 3:28 | 2013-12-28 | 23:45 | Southern Lower Penninsula, Michigan | RFC | Severe Weather - Ice/Snow | Unknown | 50000
2013-12-23 | 15:20 | 2013-12-25 | 11:32 | Central Maine Maine | NPCC | Severe Weather - Ice/Snow | Unknown | 52500
2013-12-27 | 9:43 | 2013-12-27 | 12:43 | Gilabend Arizona | WECC | Physical Attack | N/A | N/A
2013-12-30 | 11:00 | 2013-12-30 | 11:01 | Salt Lake County Utah | WECC | Physical Attack | N/A | N/A
2013-12-30 | 11:00 | 2014-01-01 | 8:00 | North of Roosevelt lake Arizona | WECC | Physical Attack | N/A | N/A
1 Source: Submissions of all Electric Emergency Incident and Disturbance Reports (OE-417), http://www.oe.netl.doe.gov/oe417.aspx